## le_Inc
Year | Technology | Type | Device | Luminous Efficacy [lm/W] | Electricity Consumption [W] | Source | Notes
1880 | Incandescent | Carbon Filament | Edison First Commercial Carbon Lamp | 1.4 |  | http://www.lamptech.co.uk/Spec%20Sheets/IN%20C%20Edison%201879.htm
1881 | Incandescent
1882 | Incandescent | Carbon Filament | Lane-Fox Carbon Filament Lamp | 2.6 | 97 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20C%20Lane-Fox.htm
1883 | Incandescent | Carbon Filament | Maxim Carbon Filament Lamp | 2.5 | 32 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20C%20Maxim.htm
1884 | Incandescent | Carbon Filament | Edison Bamboo Filament with Copper Clamps | 2.8 | 72 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20C%20Edison%201884.htm
1885 | Incandescent | Carbon Filament | American Swan Carbon Filament Lamp | 2.2 | 90 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20C%20Brush-Swan%20BC.htm
1886 | Incandescent
1887 | Incandescent
1888 | Incandescent
1889 | Incandescent
1890 | Incandescent
1891 | Incandescent
1892 | Incandescent | Carbon Filament | Pollard Lamp with Silver Film Seals | 2.2 | 90 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20C%20Pollard%20TH.htm
1893 | Incandescent | Carbon Filament | Edison New Type 1893-1899 | 2.7 | 75 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20C%20Edison%20New%20Type.htm
1894 | Incandescent
1895 | Incandescent
1896 | Incandescent
1897 | Incandescent | Carbon Filament | Tipless Carbon Filament Lamp | 2.2 | 90 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20C%20FtWayne%20A-B.htm
1898 | Incandescent
1899 | Incandescent
1900 | Incandescent
1901 | Incandescent | Carbon Filament | Carbon Filament with Mk.2 Vitrite Cap | 2.5 | 40 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20C%20Robertson%20Vitrite%20Mk2.htm
1902 | Incandescent
1903 | Incandescent
1904 | Incandescent
1905 | Incandescent
1906 | Incandescent
1907 | Incandescent | Tantalum Filament | Westinghouse Tantalum Filament of American Design | 5.5 | 50 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20TA%20Westinghouse%2050W.htm
1908 | Incandescent | Tantalum Filament | Siemens Spherical Tantalum Filament | 7.5 | 54 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20TA%20Siemens%20Globe%2032CP.htm
1909 | Incandescent | Tantalum Filament | GE Tantalum Filament 25W of American Design | 6 | 25 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20TA%20GE%2025W.htm
1910 | Incandescent
1911 | Incandescent | Coiled Tungsten Filament | Drawn Tungsten Filament | 6.3 | 40 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20WD%20GEC%20240-40SA62CL-BC-S1.htm
1912 | Incandescent | Tantalum Filament | Siemens Tantalum with Concentrated Filament | 7 |  | http://www.lamptech.co.uk/Spec%20Sheets/IN%20TA%20Siemens%20Globe%20Focus.htm
1913 | Incandescent | Tantalum Filament | Siemens Double Cage Tantalum Filament | 7.5 | 85 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20TA%20Siemens%20Double%20Cage.htm
1914 | Incandescent
1915 | Incandescent | Drawn Tungsten Filament | Drawn Tungsten with Pasted Clamps & Dumet Seals | 8.5 |  | http://www.lamptech.co.uk/Spec%20Sheets/IN%20WD%20GE%20110-40S18-E26%20Pasted%20Clamps.htm
1916 | Incandescent
1917 | Incandescent
1918 | Incandescent
1919 | Incandescent | Coiled Tungsten Filament | Philips Half-Watt Gas-Filled Tungsten | 14 |  | http://www.lamptech.co.uk/Spec%20Sheets/IN%20WC%20Philips%20HalfWatt%20100W.htm
1920 | Incandescent
1921 | Incandescent
1922 | Incandescent
1923 | Incandescent
1924 | Incandescent
1925 | Incandescent | Decorative - Light-Diffusing Finishes | Inside Frosted 'Pearl' A-Line Incandescent | 12 | 50 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20WC%20GE-Edison%20120-50A21IF-E26.htm
1926 | Incandescent
1927 | Incandescent
1928 | Incandescent
1929 | Incandescent
1930 | Incandescent
1931 | Incandescent
1932 | Incandescent
1933 | Incandescent
1934 | Incandescent
1935 | Incandescent | Reflector Lamps - Crown Mirror | GE-Mazda Silver Bowl Indirect Light | 14.2 | 100 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20R%20GE%20120-100A23SB-E26.htm
1936 | Incandescent
1937 | Incandescent
1938 | Incandescent
1939 | Incandescent | Reflector Lamps - Crown Mirror | GE-Mazda White Bowl Indirect Light | 17.9 | 100 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20R%20GE%20125-200PS30WB-E26.htm
1940 | Incandescent
1941 | Incandescent
1942 | Incandescent
1943 | Incandescent
1944 | Incandescent
1945 | Incandescent
1946 | Incandescent
1947 | Incandescent
1948 | Incandescent
1949 | Incandescent
1950 | Incandescent | Decorative - Light-Diffusing Finishes | White Silica 'Q-Coat' A-Line Incandescent | 16.3 | 100 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20WC%20GE%20120-100A21QC-E26.htm
1951 | Incandescent
1952 | Incandescent
1953 | Incandescent
1954 | Incandescent
1955 | Incandescent | Reflector Lamps - Brown Reflector | GE Incandescent Reflector 1000W RB-52 | 16.3 | 120 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20R%20GE%201000RB52.htm
1956 | Incandescent
1957 | Incandescent
1958 | Incandescent
1959 | Incandescent
1960 | Incandescent
1961 | Incandescent
1962 | Incandescent
1963 | Incandescent
1964 | Incandescent
1965 | Incandescent
1966 | Incandescent
1967 | Incandescent
1968 | Incandescent
1969 | Incandescent
1970 | Incandescent
1971 | Incandescent
1972 | Incandescent
1973 | Incandescent
1974 | Incandescent | Decorative - Light-Diffusing Finishes | Osram 'Accent' Decorative Lamp | 9.625 | 40 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20WC%20GEC%20240-40T65OP-BC%20Accent.htm
1975 | Incandescent
1976 | Incandescent
1977 | Incandescent
1978 | Incandescent
1979 | Incandescent | Coiled Tungsten Filament | Swan Centenary - Single Filament Support GLS | 13.2 |  | http://www.lamptech.co.uk/Spec%20Sheets/IN%20WC%20GEC%20240-100PS60CL-BC%20Single%20Support.htm
1980 | Incandescent
1981 | Incandescent
1982 | Incandescent
1983 | Incandescent
1984 | Incandescent
1985 | Incandescent
1986 | Incandescent
1987 | Incandescent
1988 | Incandescent
1989 | Incandescent
1990 | Incandescent | Reflector Lamps - Crown Mirror | Inside Frosted Crown Silver Reflector | 14.8 | 150 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20R%20225-150A80CSF-E27%20Philips.htm
1991 | Incandescent
1992 | Incandescent
1993 | Incandescent
1994 | Incandescent | Reflector Lamps - Brown Reflector | GE Miser BR30 Blown Bulb Reflector | 10.8 | 45 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20R%20GE%2045BR30FL-E26.htm
1995 | Incandescent
1996 | Incandescent
1997 | Incandescent
1998 | Incandescent
1999 | Incandescent
2000 | Incandescent
2001 | Incandescent | Standard - General Service (Industrial) | BAT | 17 |  | DOE (2002)
2002 | Incandescent
2003 | Incandescent
2004 | Incandescent
2005 | Incandescent
2006 | Incandescent
2007 | Incandescent
2008 | Incandescent
2009 | Incandescent
2010 | Incandescent | General Service - A-type (Residential) | BAT | 12.9 |  | DOE (2012)
2011 | Incandescent
2012 | Incandescent
2013 | Incandescent | LSPDD | INC | 8.1 | 40 | http://galileo.graphycs.cegepsherbrooke.qc.ca/app/en/lamps/2550
2014 | Incandescent
2015 | Incandescent | General Purpose - A-Shape (Commercial) | BAT | 10.3 |  | DOE (2017)
2016 | Incandescent
2017 | Incandescent
2018 | Incandescent
2019 | Incandescent
2020 | Incandescent

## le_HPS<100W
Year | Technology | Type | Device | Luminous Efficacy [lm/W] | Electricity Consumption [W] | Source | Notes
1880 | High pressure sodium
1881 | High pressure sodium
1882 | High pressure sodium
1883 | High pressure sodium
1884 | High pressure sodium
1885 | High pressure sodium
1886 | High pressure sodium
1887 | High pressure sodium
1888 | High pressure sodium
1889 | High pressure sodium
1890 | High pressure sodium
1891 | High pressure sodium
1892 | High pressure sodium
1893 | High pressure sodium
1894 | High pressure sodium
1895 | High pressure sodium
1896 | High pressure sodium
1897 | High pressure sodium
1898 | High pressure sodium
1899 | High pressure sodium
1900 | High pressure sodium
1901 | High pressure sodium
1902 | High pressure sodium
1903 | High pressure sodium
1904 | High pressure sodium
1905 | High pressure sodium
1906 | High pressure sodium
1907 | High pressure sodium
1908 | High pressure sodium
1909 | High pressure sodium
1910 | High pressure sodium
1911 | High pressure sodium
1912 | High pressure sodium
1913 | High pressure sodium
1914 | High pressure sodium
1915 | High pressure sodium
1916 | High pressure sodium
1917 | High pressure sodium
1918 | High pressure sodium
1919 | High pressure sodium
1920 | High pressure sodium
1921 | High pressure sodium
1922 | High pressure sodium
1923 | High pressure sodium
1924 | High pressure sodium
1925 | High pressure sodium
1926 | High pressure sodium
1927 | High pressure sodium
1928 | High pressure sodium
1929 | High pressure sodium
1930 | High pressure sodium
1931 | High pressure sodium
1932 | High pressure sodium
1933 | High pressure sodium
1934 | High pressure sodium
1935 | High pressure sodium
1936 | High pressure sodium
1937 | High pressure sodium
1938 | High pressure sodium
1939 | High pressure sodium
1940 | High pressure sodium
1941 | High pressure sodium
1942 | High pressure sodium
1943 | High pressure sodium
1944 | High pressure sodium
1945 | High pressure sodium
1946 | High pressure sodium
1947 | High pressure sodium
1948 | High pressure sodium
1949 | High pressure sodium
1950 | High pressure sodium
1951 | High pressure sodium
1952 | High pressure sodium
1953 | High pressure sodium
1954 | High pressure sodium
1955 | High pressure sodium
1956 | High pressure sodium
1957 | High pressure sodium
1958 | High pressure sodium
1959 | High pressure sodium
1960 | High pressure sodium
1961 | High pressure sodium
1962 | High pressure sodium
1963 | High pressure sodium
1964 | High pressure sodium
1965 | High pressure sodium
1966 | High pressure sodium
1967 | High pressure sodium
1968 | High pressure sodium
1969 | High pressure sodium
1970 | High pressure sodium | Standard Lamps | GE Lucalox Low Power Prototype LU125/BD? | 80 | 125 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20GE%20LU125BD.htm
1971 | High pressure sodium
1972 | High pressure sodium
1973 | High pressure sodium
1974 | High pressure sodium
1975 | High pressure sodium
1976 | High pressure sodium | Standard Lamps | GE Lucalox LU70/BU with Molybdenum Heat Pipe | 82.9 | 70 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20GE%20LU70BU.htm
1977 | High pressure sodium
1978 | High pressure sodium
1979 | High pressure sodium
1980 | High pressure sodium | Standard Lamps | GE LU50/A - First American Medium-Based HPS | 66 | 50 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20GE%20LU50A.htm
1981 | High pressure sodium
1982 | High pressure sodium | Reflector Style | Thorn SON-R Reflector 70W | 57.1 | 70 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20Thorn%20SONR70.htm
1983 | High pressure sodium | Standard Lamps | Thorn EMI Wide Bore SON-T 70W | 82.9 | 70 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20Thorn%20SONT70.htm
1984 | High pressure sodium
1985 | High pressure sodium
1986 | High pressure sodium
1987 | High pressure sodium | Standard Lamps | Thorn SON-T Tubular Clear 50W | 70 | 50 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20Thorn%20SONT50.htm
1988 | High pressure sodium
1989 | High pressure sodium
1990 | High pressure sodium | Self-Starting & Mercury Retrofit Designs | GE Lucalox LU70/90/D/I/27 with Electronic Ignitor | 82.8 | 70 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20GE%20LU70I.htm
1991 | High pressure sodium | Standard Lamps | Thorn SON with Cermet Arc Tube Seals | 85.7 | 70 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20Thorn%20SONT70%20Cermet.htm
1992 | High pressure sodium | Standard Lamps | GE Lucalox LU70/90/T10/27 - Compact Tubular HPS | 85.7 | 70 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20GE%20LU70-90-T10-27.htm
1993 | High pressure sodium
1994 | High pressure sodium
1995 | High pressure sodium
1996 | High pressure sodium | Enhanced Efficacy Designs | Sylvania SHP-TS Mercury-Free | 100 | 100 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20Sylvania%20SHP-MF100.htm
1997 | High pressure sodium
1998 | High pressure sodium
1999 | High pressure sodium
2000 | High pressure sodium
2001 | High pressure sodium
2002 | High pressure sodium
2003 | High pressure sodium
2004 | High pressure sodium
2005 | High pressure sodium
2006 | High pressure sodium
2007 | High pressure sodium
2008 | High pressure sodium | Enhanced Efficacy Designs | GE Lucalox XO High Output Extra Long Life | 94.3 | 70 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20GE%20LU70XO.htm
2009 | High pressure sodium | Self-Starting & Mercury Retrofit Designs | Sylvania SPX EcoArc Unsaturated Sodium Retrofit | 62.3 | 69 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20Sylvania%20SPX69-108.htm
2010 | High pressure sodium
2011 | High pressure sodium
2012 | High pressure sodium | LSPDD | HPS | 85 | 100 | http://galileo.graphycs.cegepsherbrooke.qc.ca/app/en/lamps/2536
2013 | High pressure sodium
2014 | High pressure sodium
2015 | High pressure sodium
2016 | High pressure sodium
2017 | High pressure sodium
2018 | High pressure sodium
2019 | High pressure sodium
2020 | High pressure sodium

## le_CFL
Year | Technology | Type | Device | Luminous Efficacy [lm/W] | Electricity Consumption [W] | Source | Notes
1880 | Compact fluorescent
1881 | Compact fluorescent
1882 | Compact fluorescent
1883 | Compact fluorescent
1884 | Compact fluorescent
1885 | Compact fluorescent
1886 | Compact fluorescent
1887 | Compact fluorescent
1888 | Compact fluorescent
1889 | Compact fluorescent
1890 | Compact fluorescent
1891 | Compact fluorescent
1892 | Compact fluorescent
1893 | Compact fluorescent
1894 | Compact fluorescent
1895 | Compact fluorescent
1896 | Compact fluorescent
1897 | Compact fluorescent
1898 | Compact fluorescent
1899 | Compact fluorescent
1900 | Compact fluorescent
1901 | Compact fluorescent
1902 | Compact fluorescent
1903 | Compact fluorescent
1904 | Compact fluorescent
1905 | Compact fluorescent
1906 | Compact fluorescent
1907 | Compact fluorescent
1908 | Compact fluorescent
1909 | Compact fluorescent
1910 | Compact fluorescent
1911 | Compact fluorescent
1912 | Compact fluorescent
1913 | Compact fluorescent
1914 | Compact fluorescent
1915 | Compact fluorescent
1916 | Compact fluorescent
1917 | Compact fluorescent
1918 | Compact fluorescent
1919 | Compact fluorescent
1920 | Compact fluorescent
1921 | Compact fluorescent
1922 | Compact fluorescent
1923 | Compact fluorescent
1924 | Compact fluorescent
1925 | Compact fluorescent
1926 | Compact fluorescent
1927 | Compact fluorescent
1928 | Compact fluorescent
1929 | Compact fluorescent
1930 | Compact fluorescent
1931 | Compact fluorescent
1932 | Compact fluorescent
1933 | Compact fluorescent
1934 | Compact fluorescent
1935 | Compact fluorescent
1936 | Compact fluorescent
1937 | Compact fluorescent
1938 | Compact fluorescent
1939 | Compact fluorescent
1940 | Compact fluorescent
1941 | Compact fluorescent
1942 | Compact fluorescent
1943 | Compact fluorescent
1944 | Compact fluorescent
1945 | Compact fluorescent
1946 | Compact fluorescent
1947 | Compact fluorescent
1948 | Compact fluorescent
1949 | Compact fluorescent
1950 | Compact fluorescent
1951 | Compact fluorescent
1952 | Compact fluorescent
1953 | Compact fluorescent
1954 | Compact fluorescent
1955 | Compact fluorescent
1956 | Compact fluorescent
1957 | Compact fluorescent
1958 | Compact fluorescent
1959 | Compact fluorescent
1960 | Compact fluorescent
1961 | Compact fluorescent
1962 | Compact fluorescent
1963 | Compact fluorescent
1964 | Compact fluorescent
1965 | Compact fluorescent
1966 | Compact fluorescent
1967 | Compact fluorescent
1968 | Compact fluorescent
1969 | Compact fluorescent
1970 | Compact fluorescent
1971 | Compact fluorescent
1972 | Compact fluorescent
1973 | Compact fluorescent
1974 | Compact fluorescent
1975 | Compact fluorescent
1976 | Compact fluorescent | Retrofit Lamps - Magnetically Ballasted | SL1000 - First Compact Fluorescent Prototype | 47.2 | 18 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FLCi%20Philips%20SL1000.htm
1977 | Compact fluorescent
1978 | Compact fluorescent
1979 | Compact fluorescent
1980 | Compact fluorescent | Retrofit Lamps - Magnetically Ballasted | Philips SL*18 Demonstration Lamp | 50 | 18 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FLCi%20Philips%20SL18%20Demo.htm
1981 | Compact fluorescent
1982 | Compact fluorescent | Retrofit Lamps - Magnetically Ballasted | SL*18 Compact Fluorescent with Integral Ballast | 50 | 18 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FLCi%20Philips%20SL18%20Mk2%20Prismatic.htm
1983 | Compact fluorescent
1984 | Compact fluorescent
1985 | Compact fluorescent
1986 | Compact fluorescent
1987 | Compact fluorescent
1988 | Compact fluorescent | Retrofit Lamps - Electronically Ballasted | PLCE*7 Compact Fluorescent with Electronic Ballast | 57 | 7 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FLCi%20Philips%20PLCE7.htm
1989 | Compact fluorescent
1990 | Compact fluorescent | Retrofit Lamps - Magnetically Ballasted | Mazda Low Energy - The First GLS sized CFL | 46.4 | 14 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FLCi%20Mazda%202DA10.htm
1991 | Compact fluorescent
1992 | Compact fluorescent
1993 | Compact fluorescent
1994 | Compact fluorescent
1995 | Compact fluorescent | Retrofit Lamps - Electronically Ballasted | MiniLynx Pastel Compact Fluorescent Lamp | 42.7 | 15 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FLCi%20Sylvania%20MiniLynx15%20Rose.htm
1996 | Compact fluorescent
1997 | Compact fluorescent
1998 | Compact fluorescent | Retrofit Lamps - Electronically Ballasted | "Ambiance PRO" GLS-Shaped Compact Fluorescent | 54.5 | 11 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FLCi%20Philips%20Ambiance.htm
1999 | Compact fluorescent | Retrofit Lamps - Electronically Ballasted | Dulux EL Classic Compact Fluorescent Retrofit | 30 | 5 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FLCi%20Osram%20Dulux%20EL%20Classic.htm
2000 | Compact fluorescent
2001 | Compact fluorescent | General Service - Pin | BAT | 60 |  | DOE (2002)
2002 | Compact fluorescent
2003 | Compact fluorescent | Retrofit Lamps - Electronically Ballasted | Philips Genie Series Asian Compact Fluorescent | 54.5 | 11 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FLCi%20Philips%20Genie.htm
2004 | Compact fluorescent | Retrofit Lamps - Electronically Ballasted | Philips Tornado Asian Compact Fluorescent | 63 | 23 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FLCi%20Philips%20Tornado.htm
2005 | Compact fluorescent | Retrofit Lamps - Electronically Ballasted | GE Heliax Compact Fluorescent FLE42HLX-VT-827 | 63.1 | 42 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FLCi%20GE%20FLE42HLX-VT-827.htm
2006 | Compact fluorescent
2007 | Compact fluorescent
2008 | Compact fluorescent
2009 | Compact fluorescent
2010 | Compact fluorescent | General Service - Pin | BAT | 68.6 |  | DOE (2012)
2011 | Compact fluorescent
2012 | Compact fluorescent | LSPDD | CFL | 61.1 | 9 | http://galileo.graphycs.cegepsherbrooke.qc.ca/app/en/lamps/2533
2013 | Compact fluorescent
2014 | Compact fluorescent
2015 | Compact fluorescent | General Service - Pin | BAT | 73.4 |  | DOE (2017)
2016 | Compact fluorescent | Other | BAT | 80 | 32.5 | ENERGY STAR Data
2017 | Compact fluorescent | Other | BAT | 81.2 | 32.5 | ENERGY STAR Data
2018 | Compact fluorescent
2019 | Compact fluorescent
2020 | Compact fluorescent

## le_LED
Year | Technology | Type | Device | Luminous Efficacy [lm/W] | Electricity Consumption [W] | Source | Notes
1880 | Light-emitting diode
1881 | Light-emitting diode
1882 | Light-emitting diode
1883 | Light-emitting diode
1884 | Light-emitting diode
1885 | Light-emitting diode
1886 | Light-emitting diode
1887 | Light-emitting diode
1888 | Light-emitting diode
1889 | Light-emitting diode
1890 | Light-emitting diode
1891 | Light-emitting diode
1892 | Light-emitting diode
1893 | Light-emitting diode
1894 | Light-emitting diode
1895 | Light-emitting diode
1896 | Light-emitting diode
1897 | Light-emitting diode
1898 | Light-emitting diode
1899 | Light-emitting diode
1900 | Light-emitting diode
1901 | Light-emitting diode
1902 | Light-emitting diode
1903 | Light-emitting diode
1904 | Light-emitting diode
1905 | Light-emitting diode
1906 | Light-emitting diode
1907 | Light-emitting diode
1908 | Light-emitting diode
1909 | Light-emitting diode
1910 | Light-emitting diode
1911 | Light-emitting diode
1912 | Light-emitting diode
1913 | Light-emitting diode
1914 | Light-emitting diode
1915 | Light-emitting diode
1916 | Light-emitting diode
1917 | Light-emitting diode
1918 | Light-emitting diode
1919 | Light-emitting diode
1920 | Light-emitting diode
1921 | Light-emitting diode
1922 | Light-emitting diode
1923 | Light-emitting diode
1924 | Light-emitting diode
1925 | Light-emitting diode
1926 | Light-emitting diode
1927 | Light-emitting diode
1928 | Light-emitting diode
1929 | Light-emitting diode
1930 | Light-emitting diode
1931 | Light-emitting diode
1932 | Light-emitting diode
1933 | Light-emitting diode
1934 | Light-emitting diode
1935 | Light-emitting diode
1936 | Light-emitting diode
1937 | Light-emitting diode
1938 | Light-emitting diode
1939 | Light-emitting diode
1940 | Light-emitting diode
1941 | Light-emitting diode
1942 | Light-emitting diode
1943 | Light-emitting diode
1944 | Light-emitting diode
1945 | Light-emitting diode
1946 | Light-emitting diode
1947 | Light-emitting diode
1948 | Light-emitting diode
1949 | Light-emitting diode
1950 | Light-emitting diode
1951 | Light-emitting diode
1952 | Light-emitting diode
1953 | Light-emitting diode
1954 | Light-emitting diode
1955 | Light-emitting diode
1956 | Light-emitting diode
1957 | Light-emitting diode
1958 | Light-emitting diode
1959 | Light-emitting diode
1960 | Light-emitting diode
1961 | Light-emitting diode
1962 | Light-emitting diode
1963 | Light-emitting diode
1964 | Light-emitting diode
1965 | Light-emitting diode
1966 | Light-emitting diode
1967 | Light-emitting diode
1968 | Light-emitting diode
1969 | Light-emitting diode
1970 | Light-emitting diode
1971 | Light-emitting diode
1972 | Light-emitting diode | Single diode | Thorn 49-1101 - LED GaAsP Red | 0.03 |  | http://www.lamptech.co.uk/Spec%20Sheets/LED%20Thorn%20TO-18%20Red.htm | Single diode
1973 | Light-emitting diode | Single diode | Thorn 49-1121 - LED GaAsP Yellow | 0.03 |  | http://www.lamptech.co.uk/Spec%20Sheets/LED%20Thorn%20TO-18%20Yellow.htm | Single diode
1974 | Light-emitting diode
1975 | Light-emitting diode
1976 | Light-emitting diode
1977 | Light-emitting diode
1978 | Light-emitting diode
1979 | Light-emitting diode
1980 | Light-emitting diode
1981 | Light-emitting diode
1982 | Light-emitting diode
1983 | Light-emitting diode
1984 | Light-emitting diode
1985 | Light-emitting diode
1986 | Light-emitting diode
1987 | Light-emitting diode
1988 | Light-emitting diode
1989 | Light-emitting diode
1990 | Light-emitting diode
1991 | Light-emitting diode
1992 | Light-emitting diode
1993 | Light-emitting diode
1994 | Light-emitting diode
1995 | Light-emitting diode
1996 | Light-emitting diode
1997 | Light-emitting diode
1998 | Light-emitting diode
1999 | Light-emitting diode
2000 | Light-emitting diode
2001 | Light-emitting diode | Other | BAT | 20 |  | DOE (2002)
2002 | Light-emitting diode
2003 | Light-emitting diode
2004 | Light-emitting diode
2005 | Light-emitting diode
2006 | Light-emitting diode
2007 | Light-emitting diode
2008 | Light-emitting diode
2009 | Light-emitting diode | Other | Philips Master LEDbulb 'Glow' 7W | 53 | 7 | http://www.lamptech.co.uk/Spec%20Sheets/LEDi%20Philips%20400A60IF827-E27%20Glow.htm
2010 | Light-emitting diode | Other | BAT | 55.8 |  | DOE (2012)
2011 | Light-emitting diode
2012 | Light-emitting diode
2013 | Light-emitting diode
2014 | Light-emitting diode | LSPDD | LED | 75.5 | 11 | http://galileo.graphycs.cegepsherbrooke.qc.ca/app/en/lamps/2512
2015 | Light-emitting diode | Other | BAT | 106.8 |  | DOE (2017)
2016 | Light-emitting diode | Other | BAT | 114.3 | 7 | ENERGY STAR Data
2017 | Light-emitting diode | Other | BAT | 139 | 7 | ENERGY STAR Data
2018 | Light-emitting diode | Other | BAT | 154.5 | 5.5 | ENERGY STAR Data
2019 | Light-emitting diode | Other | BAT | 150 | 14 | ENERGY STAR Data
2020 | Light-emitting diode | Other | BAT | 147.1 | 34 | ENERGY STAR Data

## Hal
Year | Technology | Type | Device | Luminous Efficacy [lm/W] | Electricity Consumption [W] | Source | Notes
1880 | Halogen
1881 | Halogen
1882 | Halogen
1883 | Halogen
1884 | Halogen
1885 | Halogen
1886 | Halogen
1887 | Halogen
1888 | Halogen
1889 | Halogen
1890 | Halogen
1891 | Halogen
1892 | Halogen
1893 | Halogen
1894 | Halogen
1895 | Halogen
1896 | Halogen
1897 | Halogen
1898 | Halogen
1899 | Halogen
1900 | Halogen
1901 | Halogen
1902 | Halogen
1903 | Halogen
1904 | Halogen
1905 | Halogen
1906 | Halogen
1907 | Halogen
1908 | Halogen
1909 | Halogen
1910 | Halogen
1911 | Halogen
1912 | Halogen
1913 | Halogen
1914 | Halogen
1915 | Halogen
1916 | Halogen
1917 | Halogen
1918 | Halogen
1919 | Halogen
1920 | Halogen
1921 | Halogen
1922 | Halogen
1923 | Halogen
1924 | Halogen
1925 | Halogen
1926 | Halogen
1927 | Halogen
1928 | Halogen
1929 | Halogen
1930 | Halogen
1931 | Halogen
1932 | Halogen
1933 | Halogen
1934 | Halogen
1935 | Halogen
1936 | Halogen
1937 | Halogen
1938 | Halogen
1939 | Halogen
1940 | Halogen
1941 | Halogen
1942 | Halogen
1943 | Halogen
1944 | Halogen
1945 | Halogen
1946 | Halogen
1947 | Halogen
1948 | Halogen
1949 | Halogen
1950 | Halogen
1951 | Halogen
1952 | Halogen
1953 | Halogen
1954 | Halogen
1955 | Halogen
1956 | Halogen
1957 | Halogen
1958 | Halogen
1959 | Halogen
1960 | Halogen
1961 | Halogen
1962 | Halogen
1963 | Halogen
1964 | Halogen | Double Ended | GE First Generation Iodine Quartzline Q500T3/CL | 21 | 500 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20DE%20GE%20Q500T3CL.htm
1965 | Halogen
1966 | Halogen | Double Ended | Double Ended Halogen 2⅝" - FAL - A1/227 | 26.2 | 420 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20DE%20P%20Q420T4C-120%20FAL%20GE.htm
1967 | Halogen
1968 | Halogen
1969 | Halogen | Single Ended - Low Voltage Capsules | Single Ended Halogen Capsule - M/32 | 18 | 50 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20SE%20LV%20Q50T10C-GY6.35-12V%20Mazda.htm
1970 | Halogen
1971 | Halogen
1972 | Halogen
1973 | Halogen
1974 | Halogen
1975 | Halogen
1976 | Halogen
1977 | Halogen
1978 | Halogen
1979 | Halogen
1980 | Halogen
1981 | Halogen
1982 | Halogen
1983 | Halogen
1984 | Halogen
1985 | Halogen | Double Ended | Linear Halogen with Integrated Fusing - K/9 12113R | 17 | 300 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20DE%20Q300T10C-245%20Fuse%20Chamber%20Philips.htm
1986 | Halogen | Double Jacket - Quartz Capsule High Power | Halostar Glass Type M/151 64482 | 16.8 | 250 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20DJ%20Q250T32CL-E27-245%20Wotan.htm
1987 | Halogen | Reflector - Low Voltage Glass Reflector | Sylvania Tru-Aim Professional - M250 EXZ | 20 | 50 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20RM%20Q50MR16S-12%20EXZ%20Sylvania%20Prof.htm
1988 | Halogen | Reflector - Low Voltage Glass Reflector | Lightstream MR16 Dichroic - M57 GBT | 18 | 50 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20RM%20Q50MR16SP-B15d-12%20M57%20Thorn.htm
1989 | Halogen | Double Jacket - Quartz Capsule High Power | Double Jacketed Halogen Floodlight - IODE | 24 | 1000 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20DJ%20Q1000T38C-230%20Philips.htm
1990 | Halogen | Double Jacket - Quartz Capsule High Power | Halostar Ceramic Type M/151 65404 | 16.8 | 250 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20DJ%20Q250T32CL-E27-245%20Osram.htm
1991 | Halogen | Double Jacket - Quartz Capsule Low Power | Double Envelope Halogèna Tubular - K/22 | 14.5 | 100 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20DJ%20Q100BT45OP-B22d-245%20Philips.htm
1992 | Halogen | Reflector - Low Voltage Glass Reflector | Sylvania Professional Deluxe - M269 BAB | 20 | 20 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20RM%20Q20MR16S-12%20BAB%20Sylvania%20PDL.htm
1993 | Halogen
1994 | Halogen | Double Jacket - Quartz Capsule Low Power | Double Envelope Halogen HC Decorative Candle | 14 | 60 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20DJ%20Q60HX35CL-E14-230%20Osram.htm
1995 | Halogen
1996 | Halogen
1997 | Halogen | Reflector - Mains Voltage | Sylvania Hi-Spot ES50 - The First GU10 Product | 10.5 | 50 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20RM%20Q50MR16FL-GU10-230%20Sylvania.htm
1998 | Halogen
1999 | Halogen
2000 | Halogen
2001 | Halogen | Halogen – Double Ended (Commercial) | BAT | 20 |  | DOE (2002)
2002 | Halogen
2003 | Halogen
2004 | Halogen | Double Jacket - Quartz Capsule Low Power | Osram Halolux Classic A60 | 13.7 | 60 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20DJ%20Q60A60CL-B22d-240%20Osram.htm
2005 | Halogen | Single Ended -High Voltage Capsules | HaloPin G9 High Voltage Halogen Capsule | 13.7 | 60 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20SE%20HV%20Q60T12C-G9-230%20Osram.htm
2006 | Halogen | Reflector - Mains Voltage | Osram DecoPin Aluminium Reflector G9 | 12.3 | 40 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20RA%20Q40AR40FL-G9-230%20Osram%20Decopin.htm
2007 | Halogen
2008 | Halogen | Double Jacket - Integrated Transformer | MasterClassic Halogen IRC Transformer Lamp Retrofit | 20.7 | 30 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20DJ%20QIR30A55CL-E27-230%20Philips.htm
2009 | Halogen
2010 | Halogen | Low Voltage Display (Commercial) | BAT | 18.1 |  | DOE (2012)
2011 | Halogen
2012 | Halogen
2013 | Halogen
2014 | Halogen
2015 | Halogen | General Purpose - A-Shape (Commercial) | BAT | 17.5 |  | DOE (2017)
2016 | Halogen
2017 | Halogen
2018 | Halogen
2019 | Halogen
2020 | Halogen

## HPS200+
Year | Technology | Type | Device | Luminous Efficacy [lm/W] | Electricity Consumption [W] | Source | Notes
1880 | High pressure sodium (HPS) (>200W)
1881 | High pressure sodium (HPS) (>200W)
1882 | High pressure sodium (HPS) (>200W)
1883 | High pressure sodium (HPS) (>200W)
1884 | High pressure sodium (HPS) (>200W)
1885 | High pressure sodium (HPS) (>200W)
1886 | High pressure sodium (HPS) (>200W)
1887 | High pressure sodium (HPS) (>200W)
1888 | High pressure sodium (HPS) (>200W)
1889 | High pressure sodium (HPS) (>200W)
1890 | High pressure sodium (HPS) (>200W)
1891 | High pressure sodium (HPS) (>200W)
1892 | High pressure sodium (HPS) (>200W)
1893 | High pressure sodium (HPS) (>200W)
1894 | High pressure sodium (HPS) (>200W)
1895 | High pressure sodium (HPS) (>200W)
1896 | High pressure sodium (HPS) (>200W)
1897 | High pressure sodium (HPS) (>200W)
1898 | High pressure sodium (HPS) (>200W)
1899 | High pressure sodium (HPS) (>200W)
1900 | High pressure sodium (HPS) (>200W)
1901 | High pressure sodium (HPS) (>200W)
1902 | High pressure sodium (HPS) (>200W)
1903 | High pressure sodium (HPS) (>200W)
1904 | High pressure sodium (HPS) (>200W)
1905 | High pressure sodium (HPS) (>200W)
1906 | High pressure sodium (HPS) (>200W)
1907 | High pressure sodium (HPS) (>200W)
1908 | High pressure sodium (HPS) (>200W)
1909 | High pressure sodium (HPS) (>200W)
1910 | High pressure sodium (HPS) (>200W)
1911 | High pressure sodium (HPS) (>200W)
1912 | High pressure sodium (HPS) (>200W)
1913 | High pressure sodium (HPS) (>200W)
1914 | High pressure sodium (HPS) (>200W)
1915 | High pressure sodium (HPS) (>200W)
1916 | High pressure sodium (HPS) (>200W)
1917 | High pressure sodium (HPS) (>200W)
1918 | High pressure sodium (HPS) (>200W)
1919 | High pressure sodium (HPS) (>200W)
1920 | High pressure sodium (HPS) (>200W)
1921 | High pressure sodium (HPS) (>200W)
1922 | High pressure sodium (HPS) (>200W)
1923 | High pressure sodium (HPS) (>200W)
1924 | High pressure sodium (HPS) (>200W)
1925 | High pressure sodium (HPS) (>200W)
1926 | High pressure sodium (HPS) (>200W)
1927 | High pressure sodium (HPS) (>200W)
1928 | High pressure sodium (HPS) (>200W)
1929 | High pressure sodium (HPS) (>200W)
1930 | High pressure sodium (HPS) (>200W)
1931 | High pressure sodium (HPS) (>200W)
1932 | High pressure sodium (HPS) (>200W)
1933 | High pressure sodium (HPS) (>200W)
1934 | High pressure sodium (HPS) (>200W)
1935 | High pressure sodium (HPS) (>200W)
1936 | High pressure sodium (HPS) (>200W)
1937 | High pressure sodium (HPS) (>200W)
1938 | High pressure sodium (HPS) (>200W)
1939 | High pressure sodium (HPS) (>200W)
1940 | High pressure sodium (HPS) (>200W)
1941 | High pressure sodium (HPS) (>200W)
1942 | High pressure sodium (HPS) (>200W)
1943 | High pressure sodium (HPS) (>200W)
1944 | High pressure sodium (HPS) (>200W)
1945 | High pressure sodium (HPS) (>200W)
1946 | High pressure sodium (HPS) (>200W)
1947 | High pressure sodium (HPS) (>200W)
1948 | High pressure sodium (HPS) (>200W)
1949 | High pressure sodium (HPS) (>200W)
1950 | High pressure sodium (HPS) (>200W)
1951 | High pressure sodium (HPS) (>200W)
1952 | High pressure sodium (HPS) (>200W)
1953 | High pressure sodium (HPS) (>200W)
1954 | High pressure sodium (HPS) (>200W)
1955 | High pressure sodium (HPS) (>200W)
1956 | High pressure sodium (HPS) (>200W)
1957 | High pressure sodium (HPS) (>200W)
1958 | High pressure sodium (HPS) (>200W)
1959 | High pressure sodium (HPS) (>200W)
1960 | High pressure sodium (HPS) (>200W)
1961 | High pressure sodium (HPS) (>200W)
1962 | High pressure sodium (HPS) (>200W)
1963 | High pressure sodium (HPS) (>200W)
1964 | High pressure sodium (HPS) (>200W)
1965 | High pressure sodium (HPS) (>200W) | Standard Lamps | GE Lucalox High Pressure Sodium Prototype | 100 | 500 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20GE%20LU500.htm
1966 | High pressure sodium (HPS) (>200W)
1967 | High pressure sodium (HPS) (>200W) | Standard Lamps | Tesla SHC 400W Original HPS Design | 110 | 400 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20Tesla%20SHC400%20Nb-cup.htm
1968 | High pressure sodium (HPS) (>200W)
1969 | High pressure sodium (HPS) (>200W) | Standard Lamps | Stellox High Pressure Sodium | 100 | 250 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20Atlas%20SON250.htm
1970 | High pressure sodium (HPS) (>200W)
1971 | High pressure sodium (HPS) (>200W) | Standard Lamps | GE Lucalox LU400/BD with External Amalgam Reservoir | 117.5 | 400 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20GE%20LU400BD.htm
1972 | High pressure sodium (HPS) (>200W)
1973 | High pressure sodium (HPS) (>200W)
1974 | High pressure sodium (HPS) (>200W)
1975 | High pressure sodium (HPS) (>200W) | Standard Lamps | Tungsram TC400 2nd Generation | 110 | 400 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20Orion%20TC400.htm
1976 | High pressure sodium (HPS) (>200W)
1977 | High pressure sodium (HPS) (>200W) | Enhanced Efficacy Designs | GE Lucalox LU250/BD/S with Superior Performance | 120 | 250 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20GE%20LU250-BD-S.htm
1978 | High pressure sodium (HPS) (>200W) | Standard Lamps | Polamp WLS 400W 1st Generation | 110 | 400 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20Polamp%20WLS400.htm
1979 | High pressure sodium (HPS) (>200W)
1980 | High pressure sodium (HPS) (>200W) | Standard Lamps | GE Lucalox LU1000 S52 with Voltage Fuse | 140 | 1000 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20GE%20LU1000.htm
1981 | High pressure sodium (HPS) (>200W)
1982 | High pressure sodium (HPS) (>200W) | Standard Lamps | Sylvania Lumalux LU200 HPS | 110 | 200 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20Sylvania%20LU200.htm
1983 | High pressure sodium (HPS) (>200W) | Standard Lamps | GE Lucalox LU250 Universal with Butterfly Crimp | 110 | 250 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20GE%20LU250.htm
1984 | High pressure sodium (HPS) (>200W)
1985 | High pressure sodium (HPS) (>200W) | Standard Lamps | Tungsram LU250 with Double Wire Seals | 108 | 250 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20Tungsram%20LU250.htm
1986 | High pressure sodium (HPS) (>200W)
1987 | High pressure sodium (HPS) (>200W) | Linear Style | Quartzray SON-TD 400W | 120 | 400 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20Thorn%20SONTD400.htm
1988 | High pressure sodium (HPS) (>200W) | Standard Lamps | SON-T 1000W with Narrow Bore Nb Seals | 130 | 1000 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20Thorn%20SONT1000.htm
1989 | High pressure sodium (HPS) (>200W) | Linear Style | Vialox Linear Sodium NAV-TS 400W | 120 | 400 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20Osram%20NAVTS400.htm
1990 | High pressure sodium (HPS) (>200W) | Linear Style | Quartzray SON-TD 1000W-400V | 137.5 | 1000 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20Thorn%20SONTD1000.htm
1991 | High pressure sodium (HPS) (>200W)
1992 | High pressure sodium (HPS) (>200W) | Linear Style | Solarstream Linear Sodium SON-L 250W | 116 | 250 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20Osram%20SONL250.htm
1993 | High pressure sodium (HPS) (>200W)
1994 | High pressure sodium (HPS) (>200W)
1995 | High pressure sodium (HPS) (>200W)
1996 | High pressure sodium (HPS) (>200W)
1997 | High pressure sodium (HPS) (>200W) | Linear Style | COBR Polam - WLS 400W Linear HP Sodium | 110 | 400 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20COBR%20WLSTC400.htm
1998 | High pressure sodium (HPS) (>200W) | Reflector Style | Osram Vialox NAV-R 310/360W | 102 | 360 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20Osram%20SONR310.htm
1999 | High pressure sodium (HPS) (>200W)
2000 | High pressure sodium (HPS) (>200W)
2001 | High pressure sodium (HPS) (>200W)
2002 | High pressure sodium (HPS) (>200W)
2003 | High pressure sodium (HPS) (>200W) | Reflector Style | Reflux High Pressure Sodium with Reflector | 104 | 250 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20Reflux.htm
2004 | High pressure sodium (HPS) (>200W)
2005 | High pressure sodium (HPS) (>200W) | Linear Style | Philips Master GreenPower 1000W TD | 139 | 1000 | http://www.lamptech.co.uk/Spec%20Sheets/D%20SHP%20Philips%20SONTD%20GreenPower%201000.htm
2006 | High pressure sodium (HPS) (>200W)
2007 | High pressure sodium (HPS) (>200W)
2008 | High pressure sodium (HPS) (>200W)
2009 | High pressure sodium (HPS) (>200W)
2010 | High pressure sodium (HPS) (>200W)
2011 | High pressure sodium (HPS) (>200W)
2012 | High pressure sodium (HPS) (>200W) | LSPDD | HPS | 85 | 100 | http://galileo.graphycs.cegepsherbrooke.qc.ca/app/en/lamps/2536
2013 | High pressure sodium (HPS) (>200W)
2014 | High pressure sodium (HPS) (>200W)
2015 | High pressure sodium (HPS) (>200W)
2016 | High pressure sodium (HPS) (>200W)
2017 | High pressure sodium (HPS) (>200W)
2018 | High pressure sodium (HPS) (>200W)
2019 | High pressure sodium (HPS) (>200W)
2020 | High pressure sodium (HPS) (>200W)

## Fl
Year | Technology | Type | Device | Luminous Efficacy [lm/W] | Electricity Consumption [W] | Source | Notes
1880 | Fluorescent
1881 | Fluorescent
1882 | Fluorescent
1883 | Fluorescent
1884 | Fluorescent
1885 | Fluorescent
1886 | Fluorescent
1887 | Fluorescent
1888 | Fluorescent
1889 | Fluorescent
1890 | Fluorescent
1891 | Fluorescent
1892 | Fluorescent
1893 | Fluorescent
1894 | Fluorescent
1895 | Fluorescent
1896 | Fluorescent
1897 | Fluorescent
1898 | Fluorescent
1899 | Fluorescent
1900 | Fluorescent
1901 | Fluorescent
1902 | Fluorescent
1903 | Fluorescent
1904 | Fluorescent
1905 | Fluorescent
1906 | Fluorescent
1907 | Fluorescent
1908 | Fluorescent
1909 | Fluorescent
1910 | Fluorescent
1911 | Fluorescent
1912 | Fluorescent
1913 | Fluorescent
1914 | Fluorescent
1915 | Fluorescent
1916 | Fluorescent
1917 | Fluorescent
1918 | Fluorescent
1919 | Fluorescent
1920 | Fluorescent
1921 | Fluorescent
1922 | Fluorescent
1923 | Fluorescent
1924 | Fluorescent
1925 | Fluorescent
1926 | Fluorescent
1927 | Fluorescent
1928 | Fluorescent
1929 | Fluorescent
1930 | Fluorescent
1931 | Fluorescent
1932 | Fluorescent
1933 | Fluorescent
1934 | Fluorescent
1935 | Fluorescent
1936 | Fluorescent
1937 | Fluorescent
1938 | Fluorescent
1939 | Fluorescent
1940 | Fluorescent
1941 | Fluorescent
1942 | Fluorescent
1943 | Fluorescent
1944 | Fluorescent
1945 | Fluorescent | Silicate Lamps | F15T8 with Zinc Beryllium Silicate Phopshor | 39 | 15 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FL%20Silicate%20Ar%20Westinghouse%20F15T8-W.htm
1946 | Fluorescent
1947 | Fluorescent
1948 | Fluorescent
1949 | Fluorescent | Halophosphate Lamps | Mazda Bayonet Capped Halophosphate Fluorescent | 45 | 80 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FL%20Halo%20Ar%20Mazda%20F80T12-D%20BC.htm
1950 | Fluorescent | Halophosphate Lamps | Sylvania F15T12 with Halophosphate Phopshor | 43.3 | 15 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FL%20Halo%20Ar%20Sylvania%20F15T12-W.htm
1951 | Fluorescent
1952 | Fluorescent
1953 | Fluorescent
1954 | Fluorescent
1955 | Fluorescent
1956 | Fluorescent | Halophosphate Deluxe Lamps | Osram Bayonet Capped Deluxe Fluorescent | 40 | 80 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FL%20HaloDX%20Ar%20GEC%20F80T12-WWX%20BC.htm
1957 | Fluorescent
1958 | Fluorescent
1959 | Fluorescent
1960 | Fluorescent
1961 | Fluorescent
1962 | Fluorescent
1963 | Fluorescent | High Output Lamps | Sylvania Very High Ouptut F48T12-CW-VHO | 62.7 | 110 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FL%20Sylvania%20F48T12-CW-VHO.htm
1964 | Fluorescent
1965 | Fluorescent
1966 | Fluorescent
1967 | Fluorescent
1968 | Fluorescent |  | Osram Bayonet Capped Deluxe Fluorescent | 40 | 80 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FL%20HaloDX%20Ar%20GEC%20F80T12-WWX%20BC.htm
1969 | Fluorescent | Halophosphate Lamps | MCFE Bayonet Capped Linear Fluorescent | 61 | 80 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FL%20Philips%20MCFE80.htm
1970 | Fluorescent
1971 | Fluorescent
1972 | Fluorescent
1973 | Fluorescent
1974 | Fluorescent
1975 | Fluorescent
1976 | Fluorescent
1977 | Fluorescent
1978 | Fluorescent
1979 | Fluorescent
1980 | Fluorescent
1981 | Fluorescent
1982 | Fluorescent
1983 | Fluorescent
1984 | Fluorescent
1985 | Fluorescent
1986 | Fluorescent
1987 | Fluorescent | High Output Lamps | GE American Fluorescent PowerGroove F96PG17-CW | 65.1 | 215 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FL%20Halo%20Ar%20GE%20F96PG17-CW.htm
1988 | Fluorescent
1989 | Fluorescent
1990 | Fluorescent | Halophosphate Lamps | Osram Last Generation BC Capped Fluorescent | 71.9 | 80 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FL%20Halo%20Ar%20Osram%20F80T12-W%20BC.htm
1991 | Fluorescent
1992 | Fluorescent
1993 | Fluorescent
1994 | Fluorescent
1995 | Fluorescent | Energy-Saving Lamps | GE American Fluorescent Watt-Miser F90T17-CW-WM | 70.1 | 82 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FL%20Halo%20Kr%20GE%20F90T17-CW-WM.htm
1996 | Fluorescent
1997 | Fluorescent
1998 | Fluorescent
1999 | Fluorescent
2000 | Fluorescent | Reflector Lamps | TL Aperture Miniature Fluorescent | 47.5 | 8 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FL%20Philips%20TL%20Aperture.htm
2001 | Fluorescent | T8 – More than 4’ (Commercial) | BAT | 88 |  | DOE (2002)
2002 | Fluorescent
2003 | Fluorescent
2004 | Fluorescent
2005 | Fluorescent
2006 | Fluorescent
2007 | Fluorescent
2008 | Fluorescent
2009 | Fluorescent
2010 | Fluorescent | T5 (Commercial) | BAT | 90.4 |  | DOE (2012)
2011 | Fluorescent
2012 | Fluorescent
2013 | Fluorescent
2014 | Fluorescent
2015 | Fluorescent | T5 (Commercial) | BAT | 103.5 |  | DOE (2017)
2016 | Fluorescent
2017 | Fluorescent
2018 | Fluorescent
2019 | Fluorescent
2020 | Fluorescent

## Long-Run
Luminous Efficacies
Device | 'Stage of Technology' | 1800 | 1801 | 1802 | 1803 | 1804 | 1805 | 1806 | 1807 | 1808 | 1809 | 1810 | 1811 | 1812 | 1813 | 1814 | 1815 | 1816 | 1817 | 1818 | 1819 | 1820 | 1821 | 1822 | 1823 | 1824 | 1825 | 1826 | 1827 | 1828 | 1829 | 1830 | 1831 | 1832 | 1833 | 1834 | 1835 | 1836 | 1837 | 1838 | 1839 | 1840 | 1841 | 1842 | 1843 | 1844 | 1845 | 1846 | 1847 | 1848 | 1849 | 1850 | 1851 | 1852 | 1853 | 1854 | 1855 | 1856 | 1857 | 1858 | 1859 | 1860 | 1861 | 1862 | 1863 | 1864 | 1865 | 1866 | 1867 | 1868 | 1869 | 1870 | 1871 | 1872 | 1873 | 1874 | 1875 | 1876 | 1877 | 1878 | 1879 | 1880 | 1881 | 1882 | 1883 | 1884 | 1885 | 1886 | 1887 | 1888 | 1889 | 1890 | 1891 | 1892 | 1893 | 1894 | 1895 | 1896 | 1897 | 1898 | 1899 | 1900 | 1901 | 1902 | 1903 | 1904 | 1905 | 1906 | 1907 | 1908 | 1909 | 1910 | 1911 | 1912 | 1913 | 1914 | 1915 | 1916 | 1917 | 1918 | 1919 | 1920 | 1921 | 1922 | 1923 | 1924 | 1925 | 1926 | 1927 | 1928 | 1929 | 1930 | 1931 | 1932 | 1933 | 1934 | 1935 | 1936 | 1937 | 1938 | 1939 | 1940 | 1941 | 1942 | 1943 | 1944 | 1945 | 1946 | 1947 | 1948 | 1949 | 1950 | 1951 | 1952 | 1953 | 1954 | 1955 | 1956 | 1957 | 1958 | 1959 | 1960 | 1961 | 1962 | 1963 | 1964 | 1965 | 1966 | 1967 | 1968 | 1969 | 1970 | 1971 | 1972 | 1973 | 1974 | 1975 | 1976 | 1977 | 1978 | 1979 | 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Candle | Tallow | 1800: 0.0757; 1830: 0.0757
| Sperm | 1800: 0.1009; 1830: 0.1009
Average Candle
Lamp | Whale oil | 1815: 0.1346; 1816: 0.1346; 1817: 0.1346; 1818: 0.1346; 1819: 0.1346; 1820: 0.1346; 1821: 0.1346; 1822: 0.1346; 1823: 0.1346; 1824: 0.1346; 1825: 0.1346; 1826: 0.1346; 1827: 0.1346; 1828: 0.1346; 1829: 0.1346; 1830: 0.1346; 1831: 0.1346; 1832: 0.1346; 1833: 0.1346; 1834: 0.1346; 1835: 0.1346; 1836: 0.1346; 1837: 0.1346; 1838: 0.1346; 1839: 0.1346; 1840: 0.1346; 1841: 0.1346; 1842: 0.1346; 1843: 0.1346; 1844: 0.1346; 1845: 0.1346
| Sperm oil | 1855: 0.0784
| Other oils | 1855: 0.0575
Average oil lamp
Town gas | Early lamp | 1827: 0.1303; 1875: 0.2464; 1876: 0.2464; 1877: 0.2464; 1878: 0.2464; 1879: 0.2464; 1880: 0.2464; 1881: 0.2464; 1882: 0.2464; 1883: 0.2464; 1884: 0.2464; 1885: 0.2464
| Silliman's experiment | 1855: 0.0833
| Welsbach mantle | 1885: 0.5914; 1886: 0.5914; 1887: 0.5914; 1888: 0.5914; 1889: 0.5914; 1890: 0.5914; 1891: 0.5914; 1892: 0.5914; 1893: 0.5914; 1894: 0.5914; 1895: 0.5914; 1916: 0.8685
Average Town gas
Kerosene lamp | Silliman's experiment | 1855: 0.0498
| 19th century | 1875: 0.159; 1876: 0.159; 1877: 0.159; 1878: 0.159; 1879: 0.159; 1880: 0.159; 1881: 0.159; 1882: 0.159; 1883: 0.159; 1884: 0.159; 1885: 0.159
| Coleman lantern | 1993: 0.3651
Average Kerosene lamp
Electric Lamp | Edison carbon filament | 1883: 2.6
| Advanced carbon filament | 1900: 3.7143; 1910: 6.5
| Tungsten filament | 1920: 11.8182; 1930: 11.8432; 1940: 11.9; 1990: 14.1667
Tungsten halogen
Average Incandescent
| Compact fluorescent | 1992: 68.2778
Average fluorescent
Average LED
Incandescent
Halogen
Compact fluorescent
Linear Fluorescent
HID
LED
Other
SOURCES
Device | 'Stage of Technology' | 1800 | 1801 | 1802 | 1803 | 1804 | 1805 | 1806 | 1807 | 1808 | 1809 | 1810 | 1811 | 1812 | 1813 | 1814 | 1815 | 1816 | 1817 | 1818 | 1819 | 1820 | 1821 | 1822 | 1823 | 1824 | 1825 | 1826 | 1827 | 1828 | 1829 | 1830 | 1831 | 1832 | 1833 | 1834 | 1835 | 1836 | 1837 | 1838 | 1839 | 1840 | 1841 | 1842 | 1843 | 1844 | 1845 | 1846 | 1847 | 1848 | 1849 | 1850 | 1851 | 1852 | 1853 | 1854 | 1855 | 1856 | 1857 | 1858 | 1859 | 1860 | 1861 | 1862 | 1863 | 1864 | 1865 | 1866 | 1867 | 1868 | 1869 | 1870 | 1871 | 1872 | 1873 | 1874 | 1875 | 1876 | 1877 | 1878 | 1879 | 1880 | 1881 | 1882 | 1883 | 1884 | 1885 | 1886 | 1887 | 1888 | 1889 | 1890 | 1891 | 1892 | 1893 | 1894 | 1895 | 1896 | 1897 | 1898 | 1899 | 1900 | 1901 | 1902 | 1903 | 1904 | 1905 | 1906 | 1907 | 1908 | 1909 | 1910 | 1911 | 1912 | 1913 | 1914 | 1915 | 1916 | 1917 | 1918 | 1919 | 1920 | 1921 | 1922 | 1923 | 1924 | 1925 | 1926 | 1927 | 1928 | 1929 | 1930 | 1931 | 1932 | 1933 | 1934 | 1935 | 1936 | 1937 | 1938 | 1939 | 1940 | 1941 | 1942 | 1943 | 1944 | 1945 | 1946 | 1947 | 1948 | 1949 | 1950 | 1951 | 1952 | 1953 | 1954 | 1955 | 1956 | 1957 | 1958 | 1959 | 1960 | 1961 | 1962 | 1963 | 1964 | 1965 | 1966 | 1967 | 1968 | 1969 | 1970 | 1971 | 1972 | 1973 | 1974 | 1975 | 1976 | 1977 | 1978 | 1979 | 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Candle | Tallow | 1800: Nordhaus (1996); 1830: Nordhaus (1996)
| Sperm | 1800: Nordhaus (1996); 1830: Nordhaus (1996)
Lamp | Whale oil | 1815: Nordhaus (1996)
| Sperm oil | 1855: Silliman (1871)
| Other oils | 1855: Silliman (1871)
Town gas | Early lamp | 1827: Stotz (1938) in Nordhaus (1996); 1875: Silliman (1871)
| Silliman's experiment | 1855: Silliman (1871)
| Welsbach mantle | 1885: Silliman (1871); 1916: Silliman (1871)
Kerosene lamp | Silliman's experiment | 1855: Silliman (1871)
| 19th century | 1875: Stotz (1938) in Nordhaus (1996)
| Coleman lantern | 1993: Nordhaus (1996)
Electric Lamp | Edison carbon filament | 1883: Gaster and Dow (1919, 1975, 1979) in Nordhaus (1996)
| Advanced carbon | 1900: Gaster and Dow (1919, 1975, 1979) in Nordhaus (1996); 1910: Gaster and Dow (1919, 1975, 1979) in Nordhaus (1996)
| Tungsten filament | 1920: Gaster and Dow (1919, 1975, 1979) in Nordhaus (1996); 1930: Gaster and Dow (1919, 1975, 1979) in Nordhaus (1996); 1940: Gaster and Dow (1919, 1975, 1979) in Nordhaus (1996); 1990: Nordhaus (1996) citing a consumer report
| Compact fluorescent | 1992: Nordhaus (1996) citing a consumer report

## Short-Run
Luminous Efficacies (lm/W)
Sector | 'Stage of Technology' | 1960 | 1961 | 1962 | 1963 | 1964 | 1965 | 1966 | 1967 | 1968 | 1969 | 1970 | 1971 | 1972 | 1973 | 1974 | 1975 | 1976 | 1977 | 1978 | 1979 | 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Residential | Incandescent | 1979: 13.2; 1980: 13.2; 1990: 14.8; 2001: 12; 2010: 12.1; 2015: 9.2
| Halogen | 1985: 18; 1990: 14.5; 1992: 22; 2001: 18.5; 2010: 14.3; 2015: 16.2
| Compact fluorescent | 1980: 50; 1990: 46.4; 2001: 56.25; 2010: 52.1; 2015: 59.2
| Linear Fluorescent | 1963: 62.7; 1969: 69; 1990: 71.9; 2001: 57; 2010: 67.3; 2015: 82.3
| HID | 2001: 61.67; 2010: 62.4; 2015: 76.3
| LED | 2001: 20; 2010: 40.7; 2015: 73.8
| Other | 2010: 37.5; 2015: 66.3
| Mean Average | 2001: 37.57; 2010: 40.9143; 2015: 54.7571
Commercial | Incandescent | 2001: 11.75; 2010: 11.7; 2015: 9.7
| Halogen | 2001: 15.33; 2010: 16.3; 2015: 12.3
| Compact fluorescent | 2001: 56.25; 2010: 55.2; 2015: 66
| Linear Fluorescent | 2001: 69.58; 2010: 76.6; 2015: 90.6
| HID | 2001: 89.83; 2010: 75.2; 2015: 90.3
| LED | 2001: 20; 2010: 55.8; 2015: 81.1
| Other | 2001: 10; 2010: 66.2; 2015: 64.6
| Mean Average | 2001: 38.9629; 2010: 51; 2015: 59.2286
Industrial | Incandescent | 2001: 12; 2010: 11.8; 2015: 9.1
| Halogen | 2001: 15.33; 2010: 12.9; 2015: 16.2
| Compact fluorescent | 2001: 56.25; 2010: 62.8; 2015: 62.1
| Linear Fluorescent | 2001: 69.58; 2010: 77.7; 2015: 91.4
| HID | 2001: 92.17; 2010: 76.7; 2015: 64.4
| LED | 2001: 20; 2010: 40.3; 2015: 87.5
| Other | 2001: 10; 2015: 66.3
| Mean Average | 2001: 39.3329; 2010: 47.0333; 2015: 56.7143
Outdoor | Incandescent | 2010: 12.2; 2015: 11.1
| Halogen | 2010: 16.5; 2015: 16.3
| Compact fluorescent | 2010: 54.6; 2015: 65.5
| Linear Fluorescent | 2010: 73.7; 2015: 83.4
| HID | 2010: 75.6; 2015: 83.3
| LED | 2010: 45.3; 2015: 90.2
| Other | 2010: 75.8; 2015: 67.2
| Mean Average | 2010: 50.5286; 2015: 59.5714
All Sectors | Incandescent | 2001: 11.9; 2010: 12; 2015: 9.2
| Halogen | 2001: 16.39; 2010: 15.4; 2015: 16.2
| Compact fluorescent | 2001: 56.25; 2010: 53.7; 2015: 59.8
| Linear Fluorescent | 2001: 65.39; 2010: 76.3; 2015: 88.7
| HID | 2001: 81.22; 2010: 75.1; 2015: 83.2
| LED | 2001: 20; 2010: 51.9; 2015: 77.6
| Other | 2001: 10; 2010: 57.5; 2015: 66.4
| Mean Average | 2001: 37.3071; 2010: 48.8429; 2015: 57.3
Proportion in Mix (% of Electricity Consumption by Sector & Technology)
Residential | Incandescent | 1970: 15; 2001: 90; 2010: 78.1609; 2015: 42.3309
| Halogen | 2001: 0; 2010: 6.8966; 2015: 28.4525
| Compact fluorescent | 2001: 0; 2010: 8.6207; 2015: 17.5548
| Linear Fluorescent | 1970: 70; 2001: 10; 2010: 5.7471; 2015: 9.1501
| HID | 1970: 15; 2001: 0.3; 2010: 0; 2015: 0.10466
| LED | 2001: 0; 2010: 0; 2015: 1.8738
| Other | 2001: 0; 2010: 0.57471; 2015: 0.53335
Commercial | Incandescent | 2001: 32; 2010: 4.3103; 2015: 2.9163
| Halogen | 2001: 0; 2010: 4.3103; 2015: 1.4533
| Compact fluorescent | 2001: 56; 2010: 4.5977; 2015: 7.3078
| Linear Fluorescent | 2001: 0; 2010: 71.8391; 2015: 68.514
| HID | 2001: 12; 2010: 14.0805; 2015: 13.1909
| LED | 2001: 0.02; 2010: 0; 2015: 6.498
| Other | 2001: 0; 2010: 0.86207; 2015: 0.11977
Industrial | Incandescent | 2001: 2; 2010: 0; 2015: 0.013316
| Halogen | 2010: 0; 2015: 0.015219
| Compact fluorescent | 2010: 0; 2015: 0.097019
| Linear Fluorescent | 2001: 67; 2010: 39.6552; 2015: 54.6997
| HID | 2001: 31; 2010: 60.3448; 2015: 43.5387
| LED | 2001: 0; 2010: 0; 2015: 1.4743
| Other | 2001: 0; 2010: 0; 2015: 0.1617
Outdoor | Incandescent | 2001: 11; 2010: 3.4188; 2015: 1.6006
| Halogen | 2010: 0.8547; 2015: 1.5255
| Compact fluorescent | 2010: 0.8547; 2015: 0.44948
| Linear Fluorescent | 2001: 2; 2010: 8.547; 2015: 3.6621
| HID | 2001: 87; 2010: 83.7607; 2015: 80.2019
| LED | 2001: 0.01; 2010: 0; 2015: 9.3833
| Other | 2001: 0; 2010: 2.5641; 2015: 3.177
All Sectors | Incandescent | 2001: 42; 2010: 22.2539; 2015: 11.4289
| Halogen | 2001: 0; 2010: 3.9943; 2015: 7.6368
| Compact fluorescent | 2001: 0; 2010: 4.5649; 2015: 6.9355
| Linear Fluorescent | 2001: 41; 2010: 41.9401; 2015: 33.1149
| HID | 2001: 17; 2010: 26.1056; 2015: 33.7791
| LED | 2001: 0.01; 2010: 0.71327; 2015: 5.921
| Other | 2001: 0; 2010: 0.42796; 2015: 1.1838
Weighted Efficacies
Residential | Incandescent | 2001: 10.8; 2010: 9.4575; 2015: 3.8944
| Halogen | 2001: 0; 2010: 0.98621; 2015: 4.6093
| Compact fluorescent | 2001: 0; 2010: 4.4914; 2015: 10.3924
| Linear Fluorescent | 2001: 5.7; 2010: 3.8678; 2015: 7.5305
| HID | 2001: 0.18501; 2010: 0; 2015: 0.079853
| LED | 2001: 0; 2010: 0; 2015: 1.3828
| Other | 2001: 0; 2010: 0.21552; 2015: 0.35361
| Average Luminous Efficacy | 2001: 16.685; 2010: 19.0184; 2015: 28.243
Commercial | Incandescent | 2001: 3.76; 2010: 0.50431; 2015: 0.28288
| Halogen | 2001: 0; 2010: 0.70259; 2015: 0.17875
| Compact fluorescent | 2001: 31.5; 2010: 2.5379; 2015: 4.8231
| Linear Fluorescent | 2001: 0; 2010: 55.0287; 2015: 62.0737
| HID | 2001: 10.7796; 2010: 10.5885; 2015: 11.9114
| LED | 2001: 0.004; 2010: 0; 2015: 5.2699
| Other | 2001: 0; 2010: 0.57069; 2015: 0.077372
| Average Luminous Efficacy | 2001: 46.0436; 2010: 69.9328; 2015: 84.6171
Industrial | Incandescent | 2001: 0.24; 2010: 0; 2015: 0.0012118
| Halogen | 2001: 0; 2010: 0; 2015: 0.0024654
| Compact fluorescent | 2001: 0; 2010: 0; 2015: 0.060249
| Linear Fluorescent | 2001: 46.6186; 2010: 30.8121; 2015: 49.9955
| HID | 2001: 28.5727; 2010: 46.2845; 2015: 28.0389
| LED | 2001: 0; 2010: 0; 2015: 1.29
| Other | 2001: 0; 2010: 0; 2015: 0.10721
| Average Luminous Efficacy | 2001: 75.4313; 2010: 77.0966; 2015: 79.4956
Outdoor | Incandescent | 2010: 0.41709; 2015: 0.17767
| Halogen | 2010: 0.14103; 2015: 0.24865
| Compact fluorescent | 2010: 0.46667; 2015: 0.29441
| Linear Fluorescent | 2010: 6.2991; 2015: 3.0542
| HID | 2010: 63.3231; 2015: 66.8082
| LED | 2010: 0; 2015: 8.4637
| Other | 2010: 1.9436; 2015: 2.135
| Average Luminous Efficacy | 2010: 72.5906; 2015: 81.1819
All Sectors | Incandescent | 2001: 4.998; 2010: 2.6705; 2015: 1.0515
| Halogen | 2001: 0; 2010: 0.61512; 2015: 1.2372
| Compact fluorescent | 2001: 0; 2010: 2.4514; 2015: 4.1475
| Linear Fluorescent | 2001: 26.8099; 2010: 32.0003; 2015: 29.3729
| HID | 2001: 13.8074; 2010: 19.6053; 2015: 28.1042
| LED | 2001: 0.002; 2010: 0.37019; 2015: 4.5947
| Other | 2001: 0; 2010: 0.24608; 2015: 0.78606
Average Luminous Efficacy
[43 empty] | 45.6173 | [8 empty] | 57.9588 |  |  |  |  | 69.2939
Note on M49: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Summers (1971) cites these figures "General Electric estimates that Fluorescent lamps now provide about 70 percent of the country's total illumination and that the balance is divided between incandescent lamps and high-intensity lamps"

## Short-Run (sources)
Luminous Efficacies (lm/W)
Sector | 'Stage of Technology' | 1960 | 1961 | 1962 | 1963 | 1964 | 1965 | 1966 | 1967 | 1968 | 1969 | 1970 | 1971 | 1972 | 1973 | 1974 | 1975 | 1976 | 1977 | 1978 | 1979 | 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Residential | Incandescent | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | http://lamptech.co.uk/Spec%20Sheets/IN%20WC%20GEC%20240-100PS60CL-BC%20Single%20Support.htm | http://lamptech.co.uk/Spec%20Sheets/IN%20WC%20GEC%20240-100PS60FR-BC%20Plastic.htm | - | - | - | - | - | - | - | - | - | http://www.lamptech.co.uk/Spec%20Sheets/IN%20R%20225-150A80CSF-E27%20Philips.htm | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Halogen | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | http://lamptech.co.uk/Spec%20Sheets/TH%20RM%20Q50MR16O-12%20EXZ%20Thorn.htm | - | - | - | - | http://lamptech.co.uk/Spec%20Sheets/TH%20DJ%20Q75BT45C-B22d-225%20Philips.htm | - | http://lamptech.co.uk/Spec%20Sheets/TH%20RM%20Q20MR16S-12%20BAB%20Sylvania%20PDL.htm | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Compact fluorescent | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | http://www.lamptech.co.uk/Spec%20Sheets/D%20FLCi%20Philips%20SL18%20Demo.htm | - | - | - | - | - | - | - | - | - | http://lamptech.co.uk/Spec%20Sheets/D%20FLCi%20Mazda%202DA10.htm | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Linear Fluorescent | - | - | - | http://lamptech.co.uk/Spec%20Sheets/D%20FL%20Sylvania%20F48T12-CW-VHO.htm | - | - | - | - | - | http://lamptech.co.uk/Spec%20Sheets/D%20FL%20Philips%20MCFE80.htm | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | http://lamptech.co.uk/Spec%20Sheets/D%20FL%20Halo%20Ar%20Osram%20F80T12-W%20BC.htm | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| HID | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| LED | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | https://ieeexplore.ieee.org/document/1304539 | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Other | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
|  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Commercial | Incandescent | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Halogen | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Compact fluorescent | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Linear Fluorescent | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| HID | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| LED | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Other | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
|  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Industrial | Incandescent | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Halogen | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Compact fluorescent | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Linear Fluorescent | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| HID | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| LED | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Other | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE(2017) | - | - | - | - | -
|  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Outdoor | Incandescent | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Halogen | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Compact fluorescent | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Linear Fluorescent | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| HID | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| LED | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Other | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -

## DOE (2017)
System Efficacy Assumptions (lm/W) | [5 empty] | All Sectors | [5 empty] | All Sectors
[6 empty] | Annual Lighting Electricity Consumed (TWh) by End-Use Sector in 2015 | [5 empty] | Annual Lighting Electricity Consumed (TWh) by End-Use Sector in 2015
| Residential | Commercial | Industrial | Outdoor | All Sectors |  | Residential | Commercial | Industrial | Outdoor | All Sectors |  | Residential | Commercial | Industrial | Outdoor | All Sectors
Incandescent | 9.2 | 9.69 | 9.11 | 11.09 | 9.21 | Incandescent | 63.098 | 6.915 | 0.007 | 3.237 | 73.256 | Incandescent | 63.098 | 6.915 | 0.007 | 3.237 | 73.256
General Purpose - A-Shape | 10.04 | 10.25 | 9.88 | - | 10.04 | General Purpose - A-Shape | 24.822 | 0.815 | 0.003 | - | 25.641 | Halogen | 42.411 | 3.446 | 0.008 | 3.085 | 48.95
General Purpose - Decorative | 8.81 | 8.71 | 9.41 | - | 8.81 | General Purpose - Decorative | 19.819 | 0.984 | 0 | - | 20.803 | Compact Fluorescent | 26.167 | 17.328 | 0.051 | 0.909 | 44.455
Reflector | 8.45 | 9.23 | 8.46 | - | 8.46 | Reflector | 17.225 | 1.583 | 0.001 | - | 18.809 | Linear Fluorescent | 13.639 | 162.459 | 28.754 | 7.406 | 212.258
Miscellaneous | 9.72 | 10.17 | 8.43 | 11.09 | 10 | Miscellaneous | 1.232 | 3.533 | 0.002 | 3.237 | 8.003 | High Intensity Discharge | 0.156 | 31.278 | 22.887 | 162.194 | 216.515
Halogen | 16.21 | 12.28 | 16.2 | 16.28 | 16.15 | Halogen | 42.411 | 3.446 | 0.008 | 3.085 | 48.95 | LED | 2.793 | 15.408 | 0.775 | 18.976 | 37.952
General Purpose - A-Shape | 17.1 | 17.47 | 16.16 | - | 17.11 | General Purpose - A-Shape | 22.357 | 0.497 | 0.005 | - | 22.86 | Other | 0.795 | 0.284 | 0.085 | 6.425 | 7.588
General Purpose - Decorative | 14.76 | 15 | 14.3 | - | 14.76 | General Purpose - Decorative | 1.301 | 0.029 | 0 | - | 1.33 | Total | 149.059 | 237.118 | 52.567 | 202.232 | 640.974
Reflector | 15.17 | 14.82 | 16.04 | - | 15.17 | Reflector | 12.848 | 0.2 | 0.001 | - | 13.049
Reflector - Low Voltage | 10.57 | 10.6 | - | - | 10.57 | Reflector - Low Voltage | 0.874 | 2.241 | - | - | 3.115 | All Sectors
Miscellaneous | 16.5 | 16.47 | 17.06 | 16.28 | 16.48 | Miscellaneous | 5.03 | 0.479 | 0.001 | 3.085 | 8.596 | Annual Lighting Electricity Consumed (%) by End-Use Sector in 2015
Compact Fluorescent | 59.24 | 65.96 | 62.14 | 65.45 | 59.77 | Compact Fluorescent | 26.167 | 17.328 | 0.051 | 0.909 | 44.455 |  | Residential | Commercial | Industrial | Outdoor | All Sectors
General Purpose - Pin | 68.41 | 70.09 | 73.36 | - | 69.64 | General Purpose - Pin | 0.541 | 8.882 | 0.032 | - | 9.455 | Incandescent | 42.3309 | 2.9163 | 0.013316 | 1.6006 | 11.4289
General Purpose - Screw | 60.46 | 62.45 | 61.06 | - | 60.52 | General Purpose - Screw | 22.337 | 6.388 | 0.003 | - | 28.728 | Halogen | 28.4525 | 1.4533 | 0.015219 | 1.5255 | 7.6368
Reflector | 45.06 | 47.82 | 43.96 | - | 45.15 | Reflector | 2.667 | 0.428 | 0.009 | - | 3.104 | Compact Fluorescent | 17.5548 | 7.3078 | 0.097019 | 0.44948 | 6.9355
Miscellaneous | 60.54 | 66 | 64.41 | 65.45 | 62.49 | Miscellaneous | 0.622 | 1.63 | 0.008 | 0.909 | 3.168 | Linear Fluorescent | 9.1501 | 68.514 | 54.6997 | 3.6621 | 33.1149
Linear Fluorescent | 82.34 | 90.64 | 91.36 | 83.38 | 88.7 | Linear Fluorescent | 13.639 | 162.459 | 28.754 | 7.406 | 212.258 | High Intensity Discharge | 0.10466 | 13.1909 | 43.5387 | 80.2019 | 33.7791
T5 | 86.32 | 103.51 | 94.03 | - | 99.29 | T5 | 0.269 | 10.357 | 7.192 | - | 17.818 | LED | 1.8738 | 6.498 | 1.4743 | 9.3833 | 5.921
T8 Less than 4ft | 76.58 | 79.57 | 73.3 | - | 79.3 | T8 Less than 4ft | 0.013 | 1.424 | 0.035 | - | 1.471 | Other | 0.53335 | 0.11977 | 0.1617 | 3.177 | 1.1838
T8 4ft | 93.13 | 94.07 | 93.83 | - | 93.92 | T8 4ft | 4.99 | 103.694 | 11.967 | - | 120.651 |  | 100 | 100 | 100 | 100 | 100
T8 Greater than 4ft | 95.75 | 96.53 | 96.93 | - | 96.54 | T8 Greater than 4ft | 0.186 | 3.117 | 3.403 | - | 6.705
T8 U-Shaped | - | 88.76 | 88.1 | - | 88.76 | T8 U-Shaped | - | 3.295 | 0.055 | - | 3.35
T12 Less than 4ft | 63.93 | 65.96 | 66.06 | - | 64.93 | T12 Less than 4ft | 0.027 | 0.175 | 0.009 | - | 0.21
T12 4ft | 73.31 | 73.96 | 73.01 | - | 73.63 | T12 4ft | 7.224 | 31.482 | 2.155 | - | 40.861
T12 Greater than 4ft | 80.03 | 78.9 | 79.1 | - | 79.36 | T12 Greater than 4ft | 0.876 | 6.841 | 3.619 | - | 11.336
T12 U-Shaped | - | 70.36 | - | - | 70.36 | T12 U-Shaped | - | 0.842 | - | - | 0.842
Miscellaneous | 83.84 | 89.72 | 85.22 | 83.38 | 84.09 | Miscellaneous | 0.056 | 1.231 | 0.319 | 7.406 | 9.012
High Intensity Discharge | 76.28 | 90.31 | 64.44 | 83.29 | 83.16 | High Intensity Discharge | 0.156 | 31.278 | 22.887 | 162.194 | 216.515
Mercury Vapor | 41.44 | 42.96 | 45.3 | 41.29 | 41.52 | Mercury Vapor | 0.071 | 0.212 | 0.084 | 1.268 | 1.635
Metal Halide | 79.96 | 90.23 | 45.55 | 44.54 | 58.29 | Metal Halide | 0.019 | 29.806 | 17.833 | 81.241 | 128.898
High Pressure Sodium | 106.57 | 119.23 | 123.23 | 114.38 | 114.73 | High Pressure Sodium | 0.066 | 0.717 | 4.97 | 79.091 | 84.844
Low Pressure Sodium | - | - | - | 159.76 | 159.76 | Low Pressure Sodium | - | - | - | 0.594 | 0.594
Miscellaneous | - | 84.43 | - | - | 84.43 | Miscellaneous | - | 0.544 | - | - | 0.544
LED | 73.78 | 81.14 | 87.54 | 90.21 | 77.58 | LED | 2.793 | 15.408 | 0.775 | 18.976 | 37.952
General Purpose | 77.84 | 81.3 | 80.39 | - | 78.54 | General Purpose | 1.339 | 2.974 | 0.005 | - | 4.319
Integrated Fixture/Luminaire | 72.93 | 82.22 | 80.7 | - | 79.74 | Integrated Fixture/Luminaire | 0.21 | 8.208 | 0.466 | - | 8.884
Linear | 106.77 | 104.36 | 100.48 | - | 104.05 | Linear | 0.006 | 1.454 | 0.3 | - | 1.76
Reflector | 66.25 | 66.63 | 66.29 | - | 66.31 | Reflector | 1.104 | 1.235 | 0.003 | - | 2.343
Reflector - Low Voltage | 62.33 | 59.42 | - | - | 60.26 | Reflector - Low Voltage | 0.01 | 0.326 | - | - | 0.336
Miscellaneous | 74.77 | 77.39 | - | 90.21 | 84.63 | Miscellaneous | 0.124 | 1.211 | - | 18.976 | 20.31
Other | 66.33 | 64.55 | 66.34 | 67.16 | 66.43 | Other | 0.795 | 0.284 | 0.085 | 6.425 | 7.588
Miscellaneous | 66.33 | 64.55 | 66.34 | 67.16 | 66.43 | Miscellaneous | 0.795 | 0.284 | 0.085 | 6.425 | 7.588
Average | 37.57 | 85.98 | 89.51 | 79.54 | 51.35

## DOE (2012)
Table C.2 System Efficacy Assumptions | [5 empty] | Table 4.8 Annual Lighting Electricity Consumed (TWh) by End-Use Sector in 2010 | [5 empty] | Table 4.8 Annual Lighting Electricity Consumed (TWh) by End-Use Sector in 2010
| Residential | Commercial | Industrial | Outdoor | All Sectors |  | Residential | Commercial | Industrial | Outdoor | All Sectors |  | Residential | Commercial | Industrial | Outdoor | All Sectors
Incandescent | 12.1 | 11.7 | 11.8 | 12.2 | 12 | Incandescent | 136 | 15 | 0 | 4 | 156 | Incandescent | 136 | 15 | 0 | 4 | 156
General Service - A-type | 12.9 | 12.4 | 11.9 |  | 12.8 | General Service - A-type | 84 | 9 | 0 |  | 94 | Halogen | 12 | 15 | 0 | 1 | 28
General Service - Decorative | 10.9 |  |  |  | 10.9 | General Service - Decorative | 28 | 0 | 0 |  | 28 | Compact Fluorescent | 15 | 16 | 0 | 1 | 32
Reflector | 10.2 | 10.4 | 10.2 |  | 10.3 | Reflector | 19 | 5 | 0 |  | 24 | Linear Fluorescent | 10 | 250 | 23 | 10 | 294
Miscellaneous | 11.9 | 11.3 |  | 12.2 | 12 | Miscellaneous | 5 | 0 | 0 | 4 | 9 | High Intensity Discharge | 0 | 49 | 35 | 98 | 183
Halogen | 14.3 | 16.3 | 12.9 | 16.5 | 15.4 | Halogen | 12 | 15 | 0 | 1 | 28 | LED | 0 | 3 | 0 | 2 | 5
General Service | 15 | 14.7 | 14.3 |  | 15 | General Service | 1 | 0 | 0 |  | 1 | Miscellaneous | 1 | 0 | 0 | 1 | 3
Reflector | 14.1 | 14.6 | 12.9 |  | 14.3 | Reflector | 8 | 7 | 0 |  | 15 | Total | 174 | 348 | 58 | 117 | 701
Low Voltage Display | 16.8 | 18.1 |  |  | 18 | Low Voltage Display | 1 | 7 |  |  | 8
Miscellaneous | 13.8 | 15.3 | 13 | 16.5 | 14.8 | Miscellaneous | 2 | 1 | 0 | 1 | 4 | Table 4.8 Annual Lighting Electricity Consumed (%) by End-Use Sector in 2010
Compact Fluorescent | 52.1 | 55.2 | 62.8 | 54.6 | 53.7 | Compact Fluorescent | 15 | 16 | 0 | 1 | 32 |  | Residential | Commercial | Industrial | Outdoor | All Sectors
General Service - Screw | 53 | 54.4 | 53.3 |  | 53.3 | General Service - Screw | 13 | 3 | 0 |  | 16 | Incandescent | 78.1609 | 4.3103 | 0 | 3.4188 | 22.2539
General Service - Pin | 59.1 | 58.4 | 68.6 |  | 58.4 | General Service - Pin | 0 | 10 | 0 |  | 10 | Halogen | 6.8966 | 4.3103 | 0 | 0.8547 | 3.9943
Reflector | 43.1 | 44.9 | 41.9 |  | 44.3 | Reflector | 1 | 3 | 0 |  | 4 | Compact Fluorescent | 8.6207 | 4.5977 | 0 | 0.8547 | 4.5649
Miscellaneous | 52.1 |  |  | 54.6 | 53.3 | Miscellaneous | 1 |  | 0 | 1 | 2 | Linear Fluorescent | 5.7471 | 71.8391 | 39.6552 | 8.547 | 41.9401
Linear Fluorescent | 67.3 | 76.6 | 77.7 | 73.7 | 76.3 | Linear Fluorescent | 10 | 250 | 23 | 10 | 294 | High Intensity Discharge | 0 | 14.0805 | 60.3448 | 83.7607 | 26.1056
T5 | 53.3 | 90.4 | 84.8 |  | 89.5 | T5 | 0 | 16 | 2 |  | 19 | LED | 0 | 0.86207 | 0 | 1.7094 | 0.71327
T8 Less than 4ft | 55.4 | 71 | 71.4 |  | 70.6 | T8 Less than 4ft | 0 | 1 | 0 |  | 1 | Miscellaneous | 0.57471 | 0 | 0 | 0.8547 | 0.42796
T8 4ft | 72.9 | 78.5 | 78.5 |  | 78.4 | T8 4ft | 1 | 111 | 11 |  | 123 | Total | 100 | 100 | 100 | 100 | 100
T8 Greater than 4ft | 87 | 80.5 | 78.5 |  | 80.3 | T8 Greater than 4ft | 0 | 6 | 1 |  | 7
T12 Less than 4ft | 51.8 | 56.1 | 48.5 |  | 55.8 | T12 Less than 4ft | 0 | 1 | 0 |  | 1
T12 4ft | 66.7 | 70.8 | 71.5 |  | 70.5 | T12 4ft | 6 | 71 | 4 |  | 81
T12 Greater than 4ft | 74.5 | 77.1 | 78.1 |  | 77.2 | T12 Greater than 4ft | 1 | 35 | 4 |  | 40
T8 U-Shaped | 77.3 | 75.7 | 76.9 |  | 75.7 | T8 U-Shaped | 0 | 6 | 0 |  | 6
T12 U-Shaped | 63.3 | 64.6 | 64.5 |  | 64.6 | T12 U-Shaped | 0 | 2 | 0 |  | 2
Miscellaneous | 62.7 | 74.9 | 79.8 | 73.7 | 72.6 | Miscellaneous | 2 | 2 | 0 | 10 | 14
High Intensity Discharge | 62.4 | 75.2 | 76.7 | 74.6 | 75.1 | High Intensity Discharge | 0 | 49 | 35 | 98 | 183
Mercury Vapor | 29.3 | 37.9 | 38.8 | 30.5 | 35.2 | Mercury Vapor | 0 | 1 | 4 | 4 | 9
Metal Halide | 49 | 72.8 | 75.5 | 60 | 69.6 | Metal Halide | 0 | 43 | 25 | 29 | 97
High Pressure Sodium | 70.1 | 107.5 | 104.7 | 83.6 | 86.9 | High Pressure Sodium | 0 | 5 | 6 | 65 | 76
Low Pressure Sodium |  | 143.5 |  | 89.2 | 92.1 | Low Pressure Sodium | 0 | 0 | 0 | 1 | 1
Other | 37.7 | 55.9 | 40.3 | 58.6 | 53.8 | Other | 1 | 3 | 0 | 3 | 8
LED | 40.7 | 55.8 | 40.3 | 45.3 | 51.9 | LED | 0 | 3 | 0 | 2 | 5
Miscellaneous | 37.5 | 66.2 |  | 75.8 | 57.5 | Miscellaneous | 1 | 0 |  | 1 | 3
AVERAGE | 19.1 | 69.8 | 77.4 | 71.1 | 58 | TOTAL | 175 | 349 | 58 | 118 | 700

## DOE (2002)
Table A-3. Efficacy Assumptions Used to Calculate National Lumen Production |  |  |  |  | Table 8-7. Percentage of Electricity Consumption by Sector and Source, 2001 (% Electricity Consumption)
Lighting Technology | Residential | Commercial | Industrial | All sectors | Lamp Type | Residential | Commercial | Industrial | Outdoor | National Avg.
Incandescent | 12 | 11.75 | 12 | 11.9167 | Incandescent | 90% | 32% | 2% | 11% | 42%
Standard - General Service | 15 | 16 | 17 |  | Fluorescent | 10% | 56% | 67% | 2% | 41%
Standard - Reflector | 9 | 9 | 9 |  | HID | 0.3% | 12% | 31% | 87% | 17%
Low wattage (<25W) | - | 9 | 9 |  | Solid State | 0% | 0.02% | 0% | 0.01% | 0.01%
Misc incandescent | - | 13 | 13 |  | Totals | 100% | 100% | 100% | 100% | 100%
Halogen | 18.5 | 15.3333 | 15.3333 | 16.3889
Halogen - General Service | 18 | 15 | 15
Halogen – Double Ended | 19 | 20 | 20
Halogen - refl. - low volt | - | 11 | 11 |  | Table 5-22: National Lighting Energy Use by Sector and Source (TWh/yr)
Fluorescent | 57 | 69.5833 | 69.5833 | 65.3889 | Sector | Incandescent | Fluorescent | HID | Solid State | Total
T5 | - | 50 | 50 |  | Residential | 187.6 | 19.9 | 0.7 | 0 | 208.2
T8 – less than 4’ | - | 82 | 82 |  | Commercial | 124.5 | 220.1 | 46.2 | 0.1 | 390.9
T8–4’ | - | 85 | 85 |  | Industrial | 2.6 | 72.3 | 33 | 0 | 107.9
T8 – More than 4’ | - | 88 | 88 |  | Outdoor Stationary | 6.5 | 1.1 | 50.2 | 0 | 57.8
T8 – U-bent | - | 74 | 74 |  | Total | 321.2 | 313.4 | 130 | 0.1 | 764.7
T12 – less than 4’ | - | 63 | 63
T12 – 4’ | - | 74 | 74
T12 – More than 4’ | - | 79 | 79
T12 – U-bent | - | 69 | 69
Circline | 58 | 58 | 58
Induction discharge | 53 | 53 | 53
Miscellaneous fluorescent | 60 | 60 | 60
Compact Fluorescent | 56.25 | 56.25 | 56.25 | 56.25
Compact Plug-in | 60 | 60 | 60
Compact Screw base | 55 | 55 | 55
Compact Plug-in – reflector | 55 | 55 | 55
Compact Screw base – reflector | 55 | 55 | 55
HID | 61.6667 | 89.8333 | 92.1667 | 81.2222
Mercury vapor | 40 | 40 | 46
Metal halide | 65 | 65 | 65
High pressure sodium | 80 | 104 | 112
Low pressure sodium | - | 140 | 140
Xenon | - | 40 | 40
Electrodeless (e.g. mercury) | - | 150 | 150
LED | - | 20 | 20 | 20
LED | - | 20 | 20
Other Solid State | - | 10 | 10 | 10
Electroluminescent | - | 10 | 10

## Notes
Questions:
How was luminous efficacy measured in each case? Was the total luminous flux measured for a 4pi steradian source, or was a direction light measured and then what correction factors were used?
Which photopic luminosity funtions were applied in each case, especially in early experiments?
Have luminous efficacy calculations used the electricity consumption of the lighting device? Or the radiant flux of the device?
Do we want to calculate an economy wide lighting efficiency which we apply to the machine 'Electric Lights'. Or do we want to create 4 new machines: 'Resiential Electric Lights','Commerical Electric Lights', 'Industrial Electric Lights' and 'Outdoor Electric Lights'; which we then created weighted average efficiencies for based on the proportion of each techology in the mix?