## Inc
Year | Type | Device | Luminous Efficacy [lm/W] | Electricity Consumption [W] | Source | Notes
1880 | Carbon Filament | Edison First Commercial Carbon Lamp | 1.4 |  | http://www.lamptech.co.uk/Spec%20Sheets/IN%20C%20Edison%201879.htm
1881
1882 | Carbon Filament | Lane-Fox Carbon Filament Lamp | 2.6 | 97 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20C%20Lane-Fox.htm
1883 | Carbon Filament | Maxim Carbon Filament Lamp | 2.5 | 32 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20C%20Maxim.htm
1884 | Carbon Filament | Edison Bamboo Filament with Copper Clamps | 2.8 | 72 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20C%20Edison%201884.htm
1885 | Carbon Filament | American Swan Carbon Filament Lamp | 2.2 | 90 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20C%20Brush-Swan%20BC.htm
1886
1887
1888
1889
1890
1891
1892 | Carbon Filament | Pollard Lamp with Silver Film Seals | 2.2 | 90 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20C%20Pollard%20TH.htm
1893 | Carbon Filament | Edison New Type 1893-1899 | 2.7 | 75 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20C%20Edison%20New%20Type.htm
1894
1895
1896
1897 | Carbon Filament | Tipless Carbon Filament Lamp | 2.2 | 90 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20C%20FtWayne%20A-B.htm
1898
1899
1900
1901 | Carbon Filament | Carbon Filament with Mk.2 Vitrite Cap | 2.5 | 40 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20C%20Robertson%20Vitrite%20Mk2.htm
1902
1903
1904
1905
1906
1907 | Tantalum Filament | Westinghouse Tantalum Filament of American Design | 5.5 | 50 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20TA%20Westinghouse%2050W.htm
1908 | Tantalum Filament | Siemens Spherical Tantalum Filament | 7.5 | 54 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20TA%20Siemens%20Globe%2032CP.htm
1909 | Tantalum Filament | GE Tantalum Filament 25W of American Design | 6 | 25 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20TA%20GE%2025W.htm
1910
1911 | Coiled Tungsten Filament | Drawn Tungsten Filament | 6.3 | 40 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20WD%20GEC%20240-40SA62CL-BC-S1.htm
1912 | Tantalum Filament | Siemens Tantalum with Concentrated Filament | 7 |  | http://www.lamptech.co.uk/Spec%20Sheets/IN%20TA%20Siemens%20Globe%20Focus.htm
1913 | Tantalum Filament | Siemens Double Cage Tantalum Filament | 7.5 | 85 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20TA%20Siemens%20Double%20Cage.htm
1914
1915 | Drawn Tungsten Filament | Drawn Tungsten with Pasted Clamps & Dumet Seals | 8.5 |  | http://www.lamptech.co.uk/Spec%20Sheets/IN%20WD%20GE%20110-40S18-E26%20Pasted%20Clamps.htm
1916
1917
1918
1919 | Coiled Tungsten Filament | Philips Half-Watt Gas-Filled Tungsten | 14 |  | http://www.lamptech.co.uk/Spec%20Sheets/IN%20WC%20Philips%20HalfWatt%20100W.htm
1920
1921
1922
1923
1924
1925 | Decorative - Light-Diffusing Finishes | Inside Frosted 'Pearl' A-Line Incandescent | 12 | 50 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20WC%20GE-Edison%20120-50A21IF-E26.htm
1926
1927
1928
1929
1930
1931
1932
1933
1934
1935 | Reflector Lamps - Crown Mirror | GE-Mazda Silver Bowl Indirect Light | 14.2 | 100 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20R%20GE%20120-100A23SB-E26.htm
1936
1937
1938
1939 | Reflector Lamps - Crown Mirror | GE-Mazda White Bowl Indirect Light | 17.9 | 100 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20R%20GE%20125-200PS30WB-E26.htm
1940
1941
1942
1943
1944
1945
1946
1947
1948
1949
1950 | Decorative - Light-Diffusing Finishes | White Silica 'Q-Coat' A-Line Incandescent | 16.3 | 100 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20WC%20GE%20120-100A21QC-E26.htm
1951
1952
1953
1954
1955 | Reflector Lamps - Brown Reflector | GE Incandescent Reflector 1000W RB-52 | 16.3 | 120 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20R%20GE%201000RB52.htm
1956
1957
1958
1959
1960
1961
1962
1963
1964
1965
1966
1967
1968
1969
1970
1971
1972
1973
1974 | Decorative - Light-Diffusing Finishes | Osram 'Accent' Decorative Lamp | 9.625 | 40 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20WC%20GEC%20240-40T65OP-BC%20Accent.htm
1975
1976
1977
1978
1979 | Coiled Tungsten Filament | Swan Centenary - Single Filament Support GLS | 13.2 |  | http://www.lamptech.co.uk/Spec%20Sheets/IN%20WC%20GEC%20240-100PS60CL-BC%20Single%20Support.htm
1980
1981
1982
1983
1984
1985
1986
1987
1988
1989
1990 | Reflector Lamps - Crown Mirror | Inside Frosted Crown Silver Reflector | 14.8 | 150 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20R%20225-150A80CSF-E27%20Philips.htm
1991
1992
1993
1994 | Reflector Lamps - Brown Reflector | GE Miser BR30 Blown Bulb Reflector | 10.8 | 45 | http://www.lamptech.co.uk/Spec%20Sheets/IN%20R%20GE%2045BR30FL-E26.htm
1995
1996
1997
1998
1999
2000
2001 | Standard - General Service (Industrial) | BAT | 17 |  | DOE (2002)
2002
2003
2004
2005
2006
2007
2008
2009
2010 | General Service - A-type (Residential) | BAT | 12.9 |  | DOE (2012)
2011
2012
2013
2014
2015 | General Purpose - A-Shape (Commercial) | BAT | 10.3 |  | DOE (2017)
2016
2017
2018
2019
2020

## Hal
Year | Type | Device | Luminous Efficacy [lm/W] | Electricity Consumption [W] | Source | Notes
1880
1881
1882
1883
1884
1885
1886
1887
1888
1889
1890
1891
1892
1893
1894
1895
1896
1897
1898
1899
1900
1901
1902
1903
1904
1905
1906
1907
1908
1909
1910
1911
1912
1913
1914
1915
1916
1917
1918
1919
1920
1921
1922
1923
1924
1925
1926
1927
1928
1929
1930
1931
1932
1933
1934
1935
1936
1937
1938
1939
1940
1941
1942
1943
1944
1945
1946
1947
1948
1949
1950
1951
1952
1953
1954
1955
1956
1957
1958
1959
1960
1961
1962
1963
1964 | Double Ended | GE First Generation Iodine Quartzline Q500T3/CL | 21 | 500 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20DE%20GE%20Q500T3CL.htm
1965
1966 | Double Ended | Double Ended Halogen 2⅝" - FAL - A1/227 | 26.2 | 420 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20DE%20P%20Q420T4C-120%20FAL%20GE.htm
1967
1968
1969 | Single Ended - Low Voltage Capsules | Single Ended Halogen Capsule - M/32 | 18 | 50 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20SE%20LV%20Q50T10C-GY6.35-12V%20Mazda.htm
1970
1971
1972
1973
1974
1975
1976
1977
1978
1979
1980
1981
1982
1983
1984
1985 | Double Ended | Linear Halogen with Integrated Fusing - K/9 12113R | 17 | 300 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20DE%20Q300T10C-245%20Fuse%20Chamber%20Philips.htm
1986 | Double Jacket - Quartz Capsule High Power | Halostar Glass Type M/151 64482 | 16.8 | 250 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20DJ%20Q250T32CL-E27-245%20Wotan.htm
1987 | Reflector - Low Voltage Glass Reflector | Sylvania Tru-Aim Professional - M250 EXZ | 20 | 50 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20RM%20Q50MR16S-12%20EXZ%20Sylvania%20Prof.htm
1988 | Reflector - Low Voltage Glass Reflector | Lightstream MR16 Dichroic - M57 GBT | 18 | 50 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20RM%20Q50MR16SP-B15d-12%20M57%20Thorn.htm
1989 | Double Jacket - Quartz Capsule High Power | Double Jacketed Halogen Floodlight - IODE | 24 | 1000 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20DJ%20Q1000T38C-230%20Philips.htm
1990 | Double Jacket - Quartz Capsule High Power | Halostar Ceramic Type M/151 65404 | 16.8 | 250 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20DJ%20Q250T32CL-E27-245%20Osram.htm
1991 | Double Jacket - Quartz Capsule Low Power | Double Envelope Halogèna Tubular - K/22 | 14.5 | 100 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20DJ%20Q100BT45OP-B22d-245%20Philips.htm
1992 | Reflector - Low Voltage Glass Reflector | Sylvania Professional Deluxe - M269 BAB | 20 | 20 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20RM%20Q20MR16S-12%20BAB%20Sylvania%20PDL.htm
1993
1994 | Double Jacket - Quartz Capsule Low Power | Double Envelope Halogen HC Decorative Candle | 14 | 60 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20DJ%20Q60HX35CL-E14-230%20Osram.htm
1995
1996
1997 | Reflector - Mains Voltage | Sylvania Hi-Spot ES50 - The First GU10 Product | 10.5 | 50 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20RM%20Q50MR16FL-GU10-230%20Sylvania.htm
1998
1999
2000
2001 | Halogen – Double Ended (Commercial) | BAT | 20 |  | DOE (2002)
2002
2003
2004 | Double Jacket - Quartz Capsule Low Power | Osram Halolux Classic A60 | 13.7 | 60 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20DJ%20Q60A60CL-B22d-240%20Osram.htm
2005 | Single Ended -High Voltage Capsules | HaloPin G9 High Voltage Halogen Capsule | 13.7 | 60 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20SE%20HV%20Q60T12C-G9-230%20Osram.htm
2006 | Reflector - Mains Voltage | Osram DecoPin Aluminium Reflector G9 | 12.3 | 40 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20RA%20Q40AR40FL-G9-230%20Osram%20Decopin.htm
2007
2008 | Double Jacket - Integrated Transformer | MasterClassic Halogen IRC Transformer Lamp Retrofit | 20.7 | 30 | http://www.lamptech.co.uk/Spec%20Sheets/TH%20DJ%20QIR30A55CL-E27-230%20Philips.htm
2009
2010 | Low Voltage Display (Commercial) | BAT | 18.1 |  | DOE (2012)
2011
2012
2013
2014
2015 | General Purpose - A-Shape (Commercial) | BAT | 17.5 |  | DOE (2017)
2016
2017
2018
2019
2020

## CFL
Year | Type | Device | Luminous Efficacy [lm/W] | Electricity Consumption [W] | Source | Notes
1880
1881
1882
1883
1884
1885
1886
1887
1888
1889
1890
1891
1892
1893
1894
1895
1896
1897
1898
1899
1900
1901
1902
1903
1904
1905
1906
1907
1908
1909
1910
1911
1912
1913
1914
1915
1916
1917
1918
1919
1920
1921
1922
1923
1924
1925
1926
1927
1928
1929
1930
1931
1932
1933
1934
1935
1936
1937
1938
1939
1940
1941
1942
1943
1944
1945
1946
1947
1948
1949
1950
1951
1952
1953
1954
1955
1956
1957
1958
1959
1960
1961
1962
1963
1964
1965
1966
1967
1968
1969
1970
1971
1972
1973
1974
1975
1976 | Retrofit Lamps - Magnetically Ballasted | SL1000 - First Compact Fluorescent Prototype | 47.2 | 18 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FLCi%20Philips%20SL1000.htm
1977
1978
1979
1980 | Retrofit Lamps - Magnetically Ballasted | Philips SL*18 Demonstration Lamp | 50 | 18 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FLCi%20Philips%20SL18%20Demo.htm
1981
1982 | Retrofit Lamps - Magnetically Ballasted | SL*18 Compact Fluorescent with Integral Ballast | 50 | 18 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FLCi%20Philips%20SL18%20Mk2%20Prismatic.htm
1983
1984
1985
1986
1987
1988 | Retrofit Lamps - Electronically Ballasted | PLCE*7 Compact Fluorescent with Electronic Ballast | 57 | 7 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FLCi%20Philips%20PLCE7.htm
1989
1990 | Retrofit Lamps - Magnetically Ballasted | Mazda Low Energy - The First GLS sized CFL | 46.4 | 14 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FLCi%20Mazda%202DA10.htm
1991
1992
1993
1994
1995 | Retrofit Lamps - Electronically Ballasted | MiniLynx Pastel Compact Fluorescent Lamp | 42.7 | 15 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FLCi%20Sylvania%20MiniLynx15%20Rose.htm
1996
1997
1998 | Retrofit Lamps - Electronically Ballasted | "Ambiance PRO" GLS-Shaped Compact Fluorescent | 54.5 | 11 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FLCi%20Philips%20Ambiance.htm
1999 | Retrofit Lamps - Electronically Ballasted | Dulux EL Classic Compact Fluorescent Retrofit | 30 | 5 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FLCi%20Osram%20Dulux%20EL%20Classic.htm
2000
2001 |  | BAT | 60 |  | DOE (2002)
2002
2003 | Retrofit Lamps - Electronically Ballasted | Philips Genie Series Asian Compact Fluorescent | 54.5 | 11 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FLCi%20Philips%20Genie.htm
2004 | Retrofit Lamps - Electronically Ballasted | Philips Tornado Asian Compact Fluorescent | 63 | 23 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FLCi%20Philips%20Tornado.htm
2005 | Retrofit Lamps - Electronically Ballasted | GE Heliax Compact Fluorescent FLE42HLX-VT-827 | 63.1 | 42 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FLCi%20GE%20FLE42HLX-VT-827.htm
2006
2007
2008
2009
2010 | General Service - Pin | BAT | 68.6 |  | DOE (2012)
2011
2012
2013
2014
2015 | General Service - Pin | BAT | 73.4 |  | DOE (2017)
2016 |  | BAT | 80 | 32.5 | ENERGY STAR Data
2017 |  | BAT | 81.2 | 32.5 | ENERGY STAR Data
2018
2019
2020

## Fl
Year | Type | Device | Luminous Efficacy [lm/W] | Electricity Consumption [W] | Source | Notes
1880
1881
1882
1883
1884
1885
1886
1887
1888
1889
1890
1891
1892
1893
1894
1895
1896
1897
1898
1899
1900
1901
1902
1903
1904
1905
1906
1907
1908
1909
1910
1911
1912
1913
1914
1915
1916
1917
1918
1919
1920
1921
1922
1923
1924
1925
1926
1927
1928
1929
1930
1931
1932
1933
1934
1935
1936
1937
1938
1939
1940
1941
1942
1943
1944
1945 | Silicate Lamps | F15T8 with Zinc Beryllium Silicate Phopshor | 39 | 15 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FL%20Silicate%20Ar%20Westinghouse%20F15T8-W.htm
1946
1947
1948
1949 | Halophosphate Lamps | Mazda Bayonet Capped Halophosphate Fluorescent | 45 | 80 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FL%20Halo%20Ar%20Mazda%20F80T12-D%20BC.htm
1950 | Halophosphate Lamps | Sylvania F15T12 with Halophosphate Phopshor | 43.3 | 15 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FL%20Halo%20Ar%20Sylvania%20F15T12-W.htm
1951
1952
1953
1954
1955
1956 | Halophosphate Deluxe Lamps | Osram Bayonet Capped Deluxe Fluorescent | 40 | 80 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FL%20HaloDX%20Ar%20GEC%20F80T12-WWX%20BC.htm
1957
1958
1959
1960
1961
1962
1963 | High Output Lamps | Sylvania Very High Ouptut F48T12-CW-VHO | 62.7 | 110 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FL%20Sylvania%20F48T12-CW-VHO.htm
1964
1965
1966
1967
1968 |  | Osram Bayonet Capped Deluxe Fluorescent | 40 | 80 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FL%20HaloDX%20Ar%20GEC%20F80T12-WWX%20BC.htm
1969 | Halophosphate Lamps | MCFE Bayonet Capped Linear Fluorescent | 61 | 80 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FL%20Philips%20MCFE80.htm
1970
1971
1972
1973
1974
1975
1976
1977
1978
1979
1980
1981
1982
1983
1984
1985
1986
1987 | High Output Lamps | GE American Fluorescent PowerGroove F96PG17-CW | 65.1 | 215 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FL%20Halo%20Ar%20GE%20F96PG17-CW.htm
1988
1989
1990 | Halophosphate Lamps | Osram Last Generation BC Capped Fluorescent | 71.9 | 80 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FL%20Halo%20Ar%20Osram%20F80T12-W%20BC.htm
1991
1992
1993
1994
1995 | Energy-Saving Lamps | GE American Fluorescent Watt-Miser F90T17-CW-WM | 70.1 | 82 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FL%20Halo%20Kr%20GE%20F90T17-CW-WM.htm
1996
1997
1998
1999
2000 | Reflector Lamps | TL Aperture Miniature Fluorescent | 47.5 | 8 | http://www.lamptech.co.uk/Spec%20Sheets/D%20FL%20Philips%20TL%20Aperture.htm
2001 | T8 – More than 4’ (Commercial) | BAT | 88 |  | DOE (2002)
2002
2003
2004
2005
2006
2007
2008
2009
2010 | T5 (Commercial) | BAT | 90.4 |  | DOE (2012)
2011
2012
2013
2014
2015 | T5 (Commercial) | BAT | 103.5 |  | DOE (2017)
2016
2017
2018
2019
2020

## LED
Year | Device | Luminous Efficacy [lm/W] | Electricity Consumption [W] | Source | Notes
1880
1881
1882
1883
1884
1885
1886
1887
1888
1889
1890
1891
1892
1893
1894
1895
1896
1897
1898
1899
1900
1901
1902
1903
1904
1905
1906
1907
1908
1909
1910
1911
1912
1913
1914
1915
1916
1917
1918
1919
1920
1921
1922
1923
1924
1925
1926
1927
1928
1929
1930
1931
1932
1933
1934
1935
1936
1937
1938
1939
1940
1941
1942
1943
1944
1945
1946
1947
1948
1949
1950
1951
1952
1953
1954
1955
1956
1957
1958
1959
1960
1961
1962
1963
1964
1965
1966
1967
1968
1969
1970
1971
1972 | Thorn 49-1101 - LED GaAsP Red | 0.03 |  | http://www.lamptech.co.uk/Spec%20Sheets/LED%20Thorn%20TO-18%20Red.htm | Single diode
1973 | Thorn 49-1121 - LED GaAsP Yellow | 0.03 |  | http://www.lamptech.co.uk/Spec%20Sheets/LED%20Thorn%20TO-18%20Yellow.htm | Single diode
1974
1975
1976
1977
1978
1979
1980
1981
1982
1983
1984
1985
1986
1987
1988
1989
1990
1991
1992
1993
1994
1995
1996
1997
1998
1999
2000
2001 | BAT | 20 |  | DOE (2002)
2002
2003
2004
2005
2006
2007
2008
2009 | Philips Master LEDbulb 'Glow' 7W | 53 | 7 | http://www.lamptech.co.uk/Spec%20Sheets/LEDi%20Philips%20400A60IF827-E27%20Glow.htm
2010 | BAT | 55.8 |  | DOE (2012)
2011
2012
2013
2014 | BAT | 79.2 | 12 | ENERGY STAR Data
2015 | BAT | 106.8 |  | DOE (2017)
2016 | BAT | 114.3 | 7 | ENERGY STAR Data
2017 | BAT | 139 | 7 | ENERGY STAR Data
2018 | BAT | 154.5 | 5.5 | ENERGY STAR Data
2019 | BAT | 150 | 14 | ENERGY STAR Data
2020 | BAT | 147.1 | 34 | ENERGY STAR Data

## HID
Year | Type | Device | Luminous Efficacy [lm/W] | Electricity Consumption [W] | Source | Notes
1880
1881
1882
1883
1884
1885
1886
1887
1888
1889
1890
1891
1892
1893
1894
1895
1896
1897
1898
1899
1900
1901
1902
1903
1904
1905
1906
1907
1908
1909
1910
1911
1912
1913
1914
1915
1916
1917
1918
1919
1920
1921
1922
1923
1924
1925
1926
1927
1928
1929
1930
1931
1932
1933
1934
1935
1936
1937
1938
1939
1940
1941
1942
1943
1944
1945
1946
1947
1948
1949
1950
1951
1952
1953
1954
1955
1956
1957
1958
1959
1960
1961
1962
1963
1964
1965
1966
1967
1968
1969
1970
1971
1972
1973
1974
1975
1976
1977
1978
1979
1980
1981
1982
1983
1984
1985
1986
1987
1988
1989
1990
1991
1992
1993
1994
1995
1996
1997
1998
1999
2000
2001
2002
2003
2004
2005
2006
2007
2008
2009
2010
2011
2012
2013
2014
2015
2016
2017
2018
2019
2020

## Long-Run
Luminous Efficacies
Device | 'Stage of Technology' | 1800 | 1801 | 1802 | 1803 | 1804 | 1805 | 1806 | 1807 | 1808 | 1809 | 1810 | 1811 | 1812 | 1813 | 1814 | 1815 | 1816 | 1817 | 1818 | 1819 | 1820 | 1821 | 1822 | 1823 | 1824 | 1825 | 1826 | 1827 | 1828 | 1829 | 1830 | 1831 | 1832 | 1833 | 1834 | 1835 | 1836 | 1837 | 1838 | 1839 | 1840 | 1841 | 1842 | 1843 | 1844 | 1845 | 1846 | 1847 | 1848 | 1849 | 1850 | 1851 | 1852 | 1853 | 1854 | 1855 | 1856 | 1857 | 1858 | 1859 | 1860 | 1861 | 1862 | 1863 | 1864 | 1865 | 1866 | 1867 | 1868 | 1869 | 1870 | 1871 | 1872 | 1873 | 1874 | 1875 | 1876 | 1877 | 1878 | 1879 | 1880 | 1881 | 1882 | 1883 | 1884 | 1885 | 1886 | 1887 | 1888 | 1889 | 1890 | 1891 | 1892 | 1893 | 1894 | 1895 | 1896 | 1897 | 1898 | 1899 | 1900 | 1901 | 1902 | 1903 | 1904 | 1905 | 1906 | 1907 | 1908 | 1909 | 1910 | 1911 | 1912 | 1913 | 1914 | 1915 | 1916 | 1917 | 1918 | 1919 | 1920 | 1921 | 1922 | 1923 | 1924 | 1925 | 1926 | 1927 | 1928 | 1929 | 1930 | 1931 | 1932 | 1933 | 1934 | 1935 | 1936 | 1937 | 1938 | 1939 | 1940 | 1941 | 1942 | 1943 | 1944 | 1945 | 1946 | 1947 | 1948 | 1949 | 1950 | 1951 | 1952 | 1953 | 1954 | 1955 | 1956 | 1957 | 1958 | 1959 | 1960 | 1961 | 1962 | 1963 | 1964 | 1965 | 1966 | 1967 | 1968 | 1969 | 1970 | 1971 | 1972 | 1973 | 1974 | 1975 | 1976 | 1977 | 1978 | 1979 | 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Candle | Tallow | 1800: 0.0757; 1830: 0.0757
| Sperm | 1800: 0.1009; 1830: 0.1009
Average Candle
Lamp | Whale oil | 1815: 0.1346; 1816: 0.1346; 1817: 0.1346; 1818: 0.1346; 1819: 0.1346; 1820: 0.1346; 1821: 0.1346; 1822: 0.1346; 1823: 0.1346; 1824: 0.1346; 1825: 0.1346; 1826: 0.1346; 1827: 0.1346; 1828: 0.1346; 1829: 0.1346; 1830: 0.1346; 1831: 0.1346; 1832: 0.1346; 1833: 0.1346; 1834: 0.1346; 1835: 0.1346; 1836: 0.1346; 1837: 0.1346; 1838: 0.1346; 1839: 0.1346; 1840: 0.1346; 1841: 0.1346; 1842: 0.1346; 1843: 0.1346; 1844: 0.1346; 1845: 0.1346
| Sperm oil | 1855: 0.0784
| Other oils | 1855: 0.0575
Average oil lamp
Town gas | Early lamp | 1827: 0.1303; 1875: 0.2464; 1876: 0.2464; 1877: 0.2464; 1878: 0.2464; 1879: 0.2464; 1880: 0.2464; 1881: 0.2464; 1882: 0.2464; 1883: 0.2464; 1884: 0.2464; 1885: 0.2464
| Silliman's experiment | 1855: 0.0833
| Welsbach mantle | 1885: 0.5914; 1886: 0.5914; 1887: 0.5914; 1888: 0.5914; 1889: 0.5914; 1890: 0.5914; 1891: 0.5914; 1892: 0.5914; 1893: 0.5914; 1894: 0.5914; 1895: 0.5914; 1916: 0.8685
Average Town gas
Kerosene lamp | Silliman's experiment | 1855: 0.0498
| 19th century | 1875: 0.159; 1876: 0.159; 1877: 0.159; 1878: 0.159; 1879: 0.159; 1880: 0.159; 1881: 0.159; 1882: 0.159; 1883: 0.159; 1884: 0.159; 1885: 0.159
| Coleman lantern | 1993: 0.3651
Average Kerosene lamp
Electric Lamp | Edison carbon filament | 1883: 2.6
| Advanced carbon filament | 1900: 3.7143; 1910: 6.5
| Tungsten filament | 1920: 11.8182; 1930: 11.8432; 1940: 11.9; 1990: 14.1667
Tungsten halogen
Average Incandescent
| Compact fluorescent | 1992: 68.2778
Average fluorescent
Average LED
Incandescent
Halogen
Compact fluorescent
Linear Fluorescent
HID
LED
Other
SOURCES
Device | 'Stage of Technology' | 1800 | 1801 | 1802 | 1803 | 1804 | 1805 | 1806 | 1807 | 1808 | 1809 | 1810 | 1811 | 1812 | 1813 | 1814 | 1815 | 1816 | 1817 | 1818 | 1819 | 1820 | 1821 | 1822 | 1823 | 1824 | 1825 | 1826 | 1827 | 1828 | 1829 | 1830 | 1831 | 1832 | 1833 | 1834 | 1835 | 1836 | 1837 | 1838 | 1839 | 1840 | 1841 | 1842 | 1843 | 1844 | 1845 | 1846 | 1847 | 1848 | 1849 | 1850 | 1851 | 1852 | 1853 | 1854 | 1855 | 1856 | 1857 | 1858 | 1859 | 1860 | 1861 | 1862 | 1863 | 1864 | 1865 | 1866 | 1867 | 1868 | 1869 | 1870 | 1871 | 1872 | 1873 | 1874 | 1875 | 1876 | 1877 | 1878 | 1879 | 1880 | 1881 | 1882 | 1883 | 1884 | 1885 | 1886 | 1887 | 1888 | 1889 | 1890 | 1891 | 1892 | 1893 | 1894 | 1895 | 1896 | 1897 | 1898 | 1899 | 1900 | 1901 | 1902 | 1903 | 1904 | 1905 | 1906 | 1907 | 1908 | 1909 | 1910 | 1911 | 1912 | 1913 | 1914 | 1915 | 1916 | 1917 | 1918 | 1919 | 1920 | 1921 | 1922 | 1923 | 1924 | 1925 | 1926 | 1927 | 1928 | 1929 | 1930 | 1931 | 1932 | 1933 | 1934 | 1935 | 1936 | 1937 | 1938 | 1939 | 1940 | 1941 | 1942 | 1943 | 1944 | 1945 | 1946 | 1947 | 1948 | 1949 | 1950 | 1951 | 1952 | 1953 | 1954 | 1955 | 1956 | 1957 | 1958 | 1959 | 1960 | 1961 | 1962 | 1963 | 1964 | 1965 | 1966 | 1967 | 1968 | 1969 | 1970 | 1971 | 1972 | 1973 | 1974 | 1975 | 1976 | 1977 | 1978 | 1979 | 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Candle | Tallow | 1800: Nordhaus (1996); 1830: Nordhaus (1996)
| Sperm | 1800: Nordhaus (1996); 1830: Nordhaus (1996)
Lamp | Whale oil | 1815: Nordhaus (1996)
| Sperm oil | 1855: Silliman (1871)
| Other oils | 1855: Silliman (1871)
Town gas | Early lamp | 1827: Stotz (1938) in Nordhaus (1996); 1875: Silliman (1871)
| Silliman's experiment | 1855: Silliman (1871)
| Welsbach mantle | 1885: Silliman (1871); 1916: Silliman (1871)
Kerosene lamp | Silliman's experiment | 1855: Silliman (1871)
| 19th century | 1875: Stotz (1938) in Nordhaus (1996)
| Coleman lantern | 1993: Nordhaus (1996)
Electric Lamp | Edison carbon filament | 1883: Gaster and Dow (1919, 1975, 1979) in Nordhaus (1996)
| Advanced carbon | 1900: Gaster and Dow (1919, 1975, 1979) in Nordhaus (1996); 1910: Gaster and Dow (1919, 1975, 1979) in Nordhaus (1996)
| Tungsten filament | 1920: Gaster and Dow (1919, 1975, 1979) in Nordhaus (1996); 1930: Gaster and Dow (1919, 1975, 1979) in Nordhaus (1996); 1940: Gaster and Dow (1919, 1975, 1979) in Nordhaus (1996); 1990: Nordhaus (1996) citing a consumer report
| Compact fluorescent | 1992: Nordhaus (1996) citing a consumer report

## Short-Run
Luminous Efficacies (lm/W)
Sector | 'Stage of Technology' | 1960 | 1961 | 1962 | 1963 | 1964 | 1965 | 1966 | 1967 | 1968 | 1969 | 1970 | 1971 | 1972 | 1973 | 1974 | 1975 | 1976 | 1977 | 1978 | 1979 | 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Residential | Incandescent | 1979: 13.2; 1980: 13.2; 1990: 14.8; 2001: 12; 2010: 12.1; 2015: 9.2
| Halogen | 1985: 18; 1990: 14.5; 1992: 22; 2001: 18.5; 2010: 14.3; 2015: 16.2
| Compact fluorescent | 1980: 50; 1990: 46.4; 2001: 56.25; 2010: 52.1; 2015: 59.2
| Linear Fluorescent | 1963: 62.7; 1969: 69; 1990: 71.9; 2001: 57; 2010: 67.3; 2015: 82.3
| HID | 2001: 61.67; 2010: 62.4; 2015: 76.3
| LED | 2001: 20; 2010: 40.7; 2015: 73.8
| Other | 2010: 37.5; 2015: 66.3
| Mean Average | 2001: 37.57; 2010: 40.9143; 2015: 54.7571
Commercial | Incandescent | 2001: 11.75; 2010: 11.7; 2015: 9.7
| Halogen | 2001: 15.33; 2010: 16.3; 2015: 12.3
| Compact fluorescent | 2001: 56.25; 2010: 55.2; 2015: 66
| Linear Fluorescent | 2001: 69.58; 2010: 76.6; 2015: 90.6
| HID | 2001: 89.83; 2010: 75.2; 2015: 90.3
| LED | 2001: 20; 2010: 55.8; 2015: 81.1
| Other | 2001: 10; 2010: 66.2; 2015: 64.6
| Mean Average | 2001: 38.9629; 2010: 51; 2015: 59.2286
Industrial | Incandescent | 2001: 12; 2010: 11.8; 2015: 9.1
| Halogen | 2001: 15.33; 2010: 12.9; 2015: 16.2
| Compact fluorescent | 2001: 56.25; 2010: 62.8; 2015: 62.1
| Linear Fluorescent | 2001: 69.58; 2010: 77.7; 2015: 91.4
| HID | 2001: 92.17; 2010: 76.7; 2015: 64.4
| LED | 2001: 20; 2010: 40.3; 2015: 87.5
| Other | 2001: 10; 2015: 66.3
| Mean Average | 2001: 39.3329; 2010: 47.0333; 2015: 56.7143
Outdoor | Incandescent | 2010: 12.2; 2015: 11.1
| Halogen | 2010: 16.5; 2015: 16.3
| Compact fluorescent | 2010: 54.6; 2015: 65.5
| Linear Fluorescent | 2010: 73.7; 2015: 83.4
| HID | 2010: 75.6; 2015: 83.3
| LED | 2010: 45.3; 2015: 90.2
| Other | 2010: 75.8; 2015: 67.2
| Mean Average | 2010: 50.5286; 2015: 59.5714
All Sectors | Incandescent | 2001: 11.9; 2010: 12; 2015: 9.2
| Halogen | 2001: 16.39; 2010: 15.4; 2015: 16.2
| Compact fluorescent | 2001: 56.25; 2010: 53.7; 2015: 59.8
| Linear Fluorescent | 2001: 65.39; 2010: 76.3; 2015: 88.7
| HID | 2001: 81.22; 2010: 75.1; 2015: 83.2
| LED | 2001: 20; 2010: 51.9; 2015: 77.6
| Other | 2001: 10; 2010: 57.5; 2015: 66.4
| Mean Average | 2001: 37.3071; 2010: 48.8429; 2015: 57.3
Proportion in Mix (% of Electricity Consumption by Sector & Technology)
Residential | Incandescent | 1970: 15; 2001: 90; 2010: 78.1609; 2015: 42.3309
| Halogen | 2001: 0; 2010: 6.8966; 2015: 28.4525
| Compact fluorescent | 2001: 0; 2010: 8.6207; 2015: 17.5548
| Linear Fluorescent | 1970: 70; 2001: 10; 2010: 5.7471; 2015: 9.1501
| HID | 1970: 15; 2001: 0.3; 2010: 0; 2015: 0.10466
| LED | 2001: 0; 2010: 0; 2015: 1.8738
| Other | 2001: 0; 2010: 0.57471; 2015: 0.53335
Commercial | Incandescent | 2001: 32; 2010: 4.3103; 2015: 2.9163
| Halogen | 2001: 0; 2010: 4.3103; 2015: 1.4533
| Compact fluorescent | 2001: 56; 2010: 4.5977; 2015: 7.3078
| Linear Fluorescent | 2001: 0; 2010: 71.8391; 2015: 68.514
| HID | 2001: 12; 2010: 14.0805; 2015: 13.1909
| LED | 2001: 0.02; 2010: 0; 2015: 6.498
| Other | 2001: 0; 2010: 0.86207; 2015: 0.11977
Industrial | Incandescent | 2001: 2; 2010: 0; 2015: 0.013316
| Halogen | 2010: 0; 2015: 0.015219
| Compact fluorescent | 2010: 0; 2015: 0.097019
| Linear Fluorescent | 2001: 67; 2010: 39.6552; 2015: 54.6997
| HID | 2001: 31; 2010: 60.3448; 2015: 43.5387
| LED | 2001: 0; 2010: 0; 2015: 1.4743
| Other | 2001: 0; 2010: 0; 2015: 0.1617
Outdoor | Incandescent | 2001: 11; 2010: 3.4188; 2015: 1.6006
| Halogen | 2010: 0.8547; 2015: 1.5255
| Compact fluorescent | 2010: 0.8547; 2015: 0.44948
| Linear Fluorescent | 2001: 2; 2010: 8.547; 2015: 3.6621
| HID | 2001: 87; 2010: 83.7607; 2015: 80.2019
| LED | 2001: 0.01; 2010: 0; 2015: 9.3833
| Other | 2001: 0; 2010: 2.5641; 2015: 3.177
All Sectors | Incandescent | 2001: 42; 2010: 22.2539; 2015: 11.4289
| Halogen | 2001: 0; 2010: 3.9943; 2015: 7.6368
| Compact fluorescent | 2001: 0; 2010: 4.5649; 2015: 6.9355
| Linear Fluorescent | 2001: 41; 2010: 41.9401; 2015: 33.1149
| HID | 2001: 17; 2010: 26.1056; 2015: 33.7791
| LED | 2001: 0.01; 2010: 0.71327; 2015: 5.921
| Other | 2001: 0; 2010: 0.42796; 2015: 1.1838
Weighted Efficacies
Residential | Incandescent | 2001: 10.8; 2010: 9.4575; 2015: 3.8944
| Halogen | 2001: 0; 2010: 0.98621; 2015: 4.6093
| Compact fluorescent | 2001: 0; 2010: 4.4914; 2015: 10.3924
| Linear Fluorescent | 2001: 5.7; 2010: 3.8678; 2015: 7.5305
| HID | 2001: 0.18501; 2010: 0; 2015: 0.079853
| LED | 2001: 0; 2010: 0; 2015: 1.3828
| Other | 2001: 0; 2010: 0.21552; 2015: 0.35361
| Average Luminous Efficacy | 2001: 16.685; 2010: 19.0184; 2015: 28.243
Commercial | Incandescent | 2001: 3.76; 2010: 0.50431; 2015: 0.28288
| Halogen | 2001: 0; 2010: 0.70259; 2015: 0.17875
| Compact fluorescent | 2001: 31.5; 2010: 2.5379; 2015: 4.8231
| Linear Fluorescent | 2001: 0; 2010: 55.0287; 2015: 62.0737
| HID | 2001: 10.7796; 2010: 10.5885; 2015: 11.9114
| LED | 2001: 0.004; 2010: 0; 2015: 5.2699
| Other | 2001: 0; 2010: 0.57069; 2015: 0.077372
| Average Luminous Efficacy | 2001: 46.0436; 2010: 69.9328; 2015: 84.6171
Industrial | Incandescent | 2001: 0.24; 2010: 0; 2015: 0.0012118
| Halogen | 2001: 0; 2010: 0; 2015: 0.0024654
| Compact fluorescent | 2001: 0; 2010: 0; 2015: 0.060249
| Linear Fluorescent | 2001: 46.6186; 2010: 30.8121; 2015: 49.9955
| HID | 2001: 28.5727; 2010: 46.2845; 2015: 28.0389
| LED | 2001: 0; 2010: 0; 2015: 1.29
| Other | 2001: 0; 2010: 0; 2015: 0.10721
| Average Luminous Efficacy | 2001: 75.4313; 2010: 77.0966; 2015: 79.4956
Outdoor | Incandescent | 2010: 0.41709; 2015: 0.17767
| Halogen | 2010: 0.14103; 2015: 0.24865
| Compact fluorescent | 2010: 0.46667; 2015: 0.29441
| Linear Fluorescent | 2010: 6.2991; 2015: 3.0542
| HID | 2010: 63.3231; 2015: 66.8082
| LED | 2010: 0; 2015: 8.4637
| Other | 2010: 1.9436; 2015: 2.135
| Average Luminous Efficacy | 2010: 72.5906; 2015: 81.1819
All Sectors | Incandescent | 2001: 4.998; 2010: 2.6705; 2015: 1.0515
| Halogen | 2001: 0; 2010: 0.61512; 2015: 1.2372
| Compact fluorescent | 2001: 0; 2010: 2.4514; 2015: 4.1475
| Linear Fluorescent | 2001: 26.8099; 2010: 32.0003; 2015: 29.3729
| HID | 2001: 13.8074; 2010: 19.6053; 2015: 28.1042
| LED | 2001: 0.002; 2010: 0.37019; 2015: 4.5947
| Other | 2001: 0; 2010: 0.24608; 2015: 0.78606
Average Luminous Efficacy
[43 empty] | 45.6173 | [8 empty] | 57.9588 |  |  |  |  | 69.2939
Note on M49: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Summers (1971) cites these figures "General Electric estimates that Fluorescent lamps now provide about 70 percent of the country's total illumination and that the balance is divided between incandescent lamps and high-intensity lamps"

## Short-Run (sources)
Luminous Efficacies (lm/W)
Sector | 'Stage of Technology' | 1960 | 1961 | 1962 | 1963 | 1964 | 1965 | 1966 | 1967 | 1968 | 1969 | 1970 | 1971 | 1972 | 1973 | 1974 | 1975 | 1976 | 1977 | 1978 | 1979 | 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Residential | Incandescent | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | http://lamptech.co.uk/Spec%20Sheets/IN%20WC%20GEC%20240-100PS60CL-BC%20Single%20Support.htm | http://lamptech.co.uk/Spec%20Sheets/IN%20WC%20GEC%20240-100PS60FR-BC%20Plastic.htm | - | - | - | - | - | - | - | - | - | http://www.lamptech.co.uk/Spec%20Sheets/IN%20R%20225-150A80CSF-E27%20Philips.htm | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Halogen | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | http://lamptech.co.uk/Spec%20Sheets/TH%20RM%20Q50MR16O-12%20EXZ%20Thorn.htm | - | - | - | - | http://lamptech.co.uk/Spec%20Sheets/TH%20DJ%20Q75BT45C-B22d-225%20Philips.htm | - | http://lamptech.co.uk/Spec%20Sheets/TH%20RM%20Q20MR16S-12%20BAB%20Sylvania%20PDL.htm | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Compact fluorescent | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | http://www.lamptech.co.uk/Spec%20Sheets/D%20FLCi%20Philips%20SL18%20Demo.htm | - | - | - | - | - | - | - | - | - | http://lamptech.co.uk/Spec%20Sheets/D%20FLCi%20Mazda%202DA10.htm | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Linear Fluorescent | - | - | - | http://lamptech.co.uk/Spec%20Sheets/D%20FL%20Sylvania%20F48T12-CW-VHO.htm | - | - | - | - | - | http://lamptech.co.uk/Spec%20Sheets/D%20FL%20Philips%20MCFE80.htm | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | http://lamptech.co.uk/Spec%20Sheets/D%20FL%20Halo%20Ar%20Osram%20F80T12-W%20BC.htm | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| HID | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| LED | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | https://ieeexplore.ieee.org/document/1304539 | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Other | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
|  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Commercial | Incandescent | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Halogen | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Compact fluorescent | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Linear Fluorescent | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| HID | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| LED | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Other | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
|  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Industrial | Incandescent | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Halogen | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Compact fluorescent | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Linear Fluorescent | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| HID | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| LED | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE (2002) | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Other | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE(2017) | - | - | - | - | -
|  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Outdoor | Incandescent | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Halogen | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Compact fluorescent | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Linear Fluorescent | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| HID | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| LED | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -
| Other | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | DOE(2012) | - | - | - | - | DOE(2017) | - | - | - | - | -

## DOE (2017)
System Efficacy Assumptions (lm/W) | [5 empty] | All Sectors | [5 empty] | All Sectors
[6 empty] | Annual Lighting Electricity Consumed (TWh) by End-Use Sector in 2015 | [5 empty] | Annual Lighting Electricity Consumed (TWh) by End-Use Sector in 2015
| Residential | Commercial | Industrial | Outdoor | All Sectors |  | Residential | Commercial | Industrial | Outdoor | All Sectors |  | Residential | Commercial | Industrial | Outdoor | All Sectors
Incandescent | 9.2 | 9.69 | 9.11 | 11.09 | 9.21 | Incandescent | 63.098 | 6.915 | 0.007 | 3.237 | 73.256 | Incandescent | 63.098 | 6.915 | 0.007 | 3.237 | 73.256
General Purpose - A-Shape | 10.04 | 10.25 | 9.88 | - | 10.04 | General Purpose - A-Shape | 24.822 | 0.815 | 0.003 | - | 25.641 | Halogen | 42.411 | 3.446 | 0.008 | 3.085 | 48.95
General Purpose - Decorative | 8.81 | 8.71 | 9.41 | - | 8.81 | General Purpose - Decorative | 19.819 | 0.984 | 0 | - | 20.803 | Compact Fluorescent | 26.167 | 17.328 | 0.051 | 0.909 | 44.455
Reflector | 8.45 | 9.23 | 8.46 | - | 8.46 | Reflector | 17.225 | 1.583 | 0.001 | - | 18.809 | Linear Fluorescent | 13.639 | 162.459 | 28.754 | 7.406 | 212.258
Miscellaneous | 9.72 | 10.17 | 8.43 | 11.09 | 10 | Miscellaneous | 1.232 | 3.533 | 0.002 | 3.237 | 8.003 | High Intensity Discharge | 0.156 | 31.278 | 22.887 | 162.194 | 216.515
Halogen | 16.21 | 12.28 | 16.2 | 16.28 | 16.15 | Halogen | 42.411 | 3.446 | 0.008 | 3.085 | 48.95 | LED | 2.793 | 15.408 | 0.775 | 18.976 | 37.952
General Purpose - A-Shape | 17.1 | 17.47 | 16.16 | - | 17.11 | General Purpose - A-Shape | 22.357 | 0.497 | 0.005 | - | 22.86 | Other | 0.795 | 0.284 | 0.085 | 6.425 | 7.588
General Purpose - Decorative | 14.76 | 15 | 14.3 | - | 14.76 | General Purpose - Decorative | 1.301 | 0.029 | 0 | - | 1.33 | Total | 149.059 | 237.118 | 52.567 | 202.232 | 640.974
Reflector | 15.17 | 14.82 | 16.04 | - | 15.17 | Reflector | 12.848 | 0.2 | 0.001 | - | 13.049
Reflector - Low Voltage | 10.57 | 10.6 | - | - | 10.57 | Reflector - Low Voltage | 0.874 | 2.241 | - | - | 3.115 | All Sectors
Miscellaneous | 16.5 | 16.47 | 17.06 | 16.28 | 16.48 | Miscellaneous | 5.03 | 0.479 | 0.001 | 3.085 | 8.596 | Annual Lighting Electricity Consumed (%) by End-Use Sector in 2015
Compact Fluorescent | 59.24 | 65.96 | 62.14 | 65.45 | 59.77 | Compact Fluorescent | 26.167 | 17.328 | 0.051 | 0.909 | 44.455 |  | Residential | Commercial | Industrial | Outdoor | All Sectors
General Purpose - Pin | 68.41 | 70.09 | 73.36 | - | 69.64 | General Purpose - Pin | 0.541 | 8.882 | 0.032 | - | 9.455 | Incandescent | 42.3309 | 2.9163 | 0.013316 | 1.6006 | 11.4289
General Purpose - Screw | 60.46 | 62.45 | 61.06 | - | 60.52 | General Purpose - Screw | 22.337 | 6.388 | 0.003 | - | 28.728 | Halogen | 28.4525 | 1.4533 | 0.015219 | 1.5255 | 7.6368
Reflector | 45.06 | 47.82 | 43.96 | - | 45.15 | Reflector | 2.667 | 0.428 | 0.009 | - | 3.104 | Compact Fluorescent | 17.5548 | 7.3078 | 0.097019 | 0.44948 | 6.9355
Miscellaneous | 60.54 | 66 | 64.41 | 65.45 | 62.49 | Miscellaneous | 0.622 | 1.63 | 0.008 | 0.909 | 3.168 | Linear Fluorescent | 9.1501 | 68.514 | 54.6997 | 3.6621 | 33.1149
Linear Fluorescent | 82.34 | 90.64 | 91.36 | 83.38 | 88.7 | Linear Fluorescent | 13.639 | 162.459 | 28.754 | 7.406 | 212.258 | High Intensity Discharge | 0.10466 | 13.1909 | 43.5387 | 80.2019 | 33.7791
T5 | 86.32 | 103.51 | 94.03 | - | 99.29 | T5 | 0.269 | 10.357 | 7.192 | - | 17.818 | LED | 1.8738 | 6.498 | 1.4743 | 9.3833 | 5.921
T8 Less than 4ft | 76.58 | 79.57 | 73.3 | - | 79.3 | T8 Less than 4ft | 0.013 | 1.424 | 0.035 | - | 1.471 | Other | 0.53335 | 0.11977 | 0.1617 | 3.177 | 1.1838
T8 4ft | 93.13 | 94.07 | 93.83 | - | 93.92 | T8 4ft | 4.99 | 103.694 | 11.967 | - | 120.651 |  | 100 | 100 | 100 | 100 | 100
T8 Greater than 4ft | 95.75 | 96.53 | 96.93 | - | 96.54 | T8 Greater than 4ft | 0.186 | 3.117 | 3.403 | - | 6.705
T8 U-Shaped | - | 88.76 | 88.1 | - | 88.76 | T8 U-Shaped | - | 3.295 | 0.055 | - | 3.35
T12 Less than 4ft | 63.93 | 65.96 | 66.06 | - | 64.93 | T12 Less than 4ft | 0.027 | 0.175 | 0.009 | - | 0.21
T12 4ft | 73.31 | 73.96 | 73.01 | - | 73.63 | T12 4ft | 7.224 | 31.482 | 2.155 | - | 40.861
T12 Greater than 4ft | 80.03 | 78.9 | 79.1 | - | 79.36 | T12 Greater than 4ft | 0.876 | 6.841 | 3.619 | - | 11.336
T12 U-Shaped | - | 70.36 | - | - | 70.36 | T12 U-Shaped | - | 0.842 | - | - | 0.842
Miscellaneous | 83.84 | 89.72 | 85.22 | 83.38 | 84.09 | Miscellaneous | 0.056 | 1.231 | 0.319 | 7.406 | 9.012
High Intensity Discharge | 76.28 | 90.31 | 64.44 | 83.29 | 83.16 | High Intensity Discharge | 0.156 | 31.278 | 22.887 | 162.194 | 216.515
Mercury Vapor | 41.44 | 42.96 | 45.3 | 41.29 | 41.52 | Mercury Vapor | 0.071 | 0.212 | 0.084 | 1.268 | 1.635
Metal Halide | 79.96 | 90.23 | 45.55 | 44.54 | 58.29 | Metal Halide | 0.019 | 29.806 | 17.833 | 81.241 | 128.898
High Pressure Sodium | 106.57 | 119.23 | 123.23 | 114.38 | 114.73 | High Pressure Sodium | 0.066 | 0.717 | 4.97 | 79.091 | 84.844
Low Pressure Sodium | - | - | - | 159.76 | 159.76 | Low Pressure Sodium | - | - | - | 0.594 | 0.594
Miscellaneous | - | 84.43 | - | - | 84.43 | Miscellaneous | - | 0.544 | - | - | 0.544
LED | 73.78 | 81.14 | 87.54 | 90.21 | 77.58 | LED | 2.793 | 15.408 | 0.775 | 18.976 | 37.952
General Purpose | 77.84 | 81.3 | 80.39 | - | 78.54 | General Purpose | 1.339 | 2.974 | 0.005 | - | 4.319
Integrated Fixture/Luminaire | 72.93 | 82.22 | 80.7 | - | 79.74 | Integrated Fixture/Luminaire | 0.21 | 8.208 | 0.466 | - | 8.884
Linear | 106.77 | 104.36 | 100.48 | - | 104.05 | Linear | 0.006 | 1.454 | 0.3 | - | 1.76
Reflector | 66.25 | 66.63 | 66.29 | - | 66.31 | Reflector | 1.104 | 1.235 | 0.003 | - | 2.343
Reflector - Low Voltage | 62.33 | 59.42 | - | - | 60.26 | Reflector - Low Voltage | 0.01 | 0.326 | - | - | 0.336
Miscellaneous | 74.77 | 77.39 | - | 90.21 | 84.63 | Miscellaneous | 0.124 | 1.211 | - | 18.976 | 20.31
Other | 66.33 | 64.55 | 66.34 | 67.16 | 66.43 | Other | 0.795 | 0.284 | 0.085 | 6.425 | 7.588
Miscellaneous | 66.33 | 64.55 | 66.34 | 67.16 | 66.43 | Miscellaneous | 0.795 | 0.284 | 0.085 | 6.425 | 7.588
Average | 37.57 | 85.98 | 89.51 | 79.54 | 51.35

## DOE (2012)
Table C.2 System Efficacy Assumptions | [5 empty] | Table 4.8 Annual Lighting Electricity Consumed (TWh) by End-Use Sector in 2010 | [5 empty] | Table 4.8 Annual Lighting Electricity Consumed (TWh) by End-Use Sector in 2010
| Residential | Commercial | Industrial | Outdoor | All Sectors |  | Residential | Commercial | Industrial | Outdoor | All Sectors |  | Residential | Commercial | Industrial | Outdoor | All Sectors
Incandescent | 12.1 | 11.7 | 11.8 | 12.2 | 12 | Incandescent | 136 | 15 | 0 | 4 | 156 | Incandescent | 136 | 15 | 0 | 4 | 156
General Service - A-type | 12.9 | 12.4 | 11.9 |  | 12.8 | General Service - A-type | 84 | 9 | 0 |  | 94 | Halogen | 12 | 15 | 0 | 1 | 28
General Service - Decorative | 10.9 |  |  |  | 10.9 | General Service - Decorative | 28 | 0 | 0 |  | 28 | Compact Fluorescent | 15 | 16 | 0 | 1 | 32
Reflector | 10.2 | 10.4 | 10.2 |  | 10.3 | Reflector | 19 | 5 | 0 |  | 24 | Linear Fluorescent | 10 | 250 | 23 | 10 | 294
Miscellaneous | 11.9 | 11.3 |  | 12.2 | 12 | Miscellaneous | 5 | 0 | 0 | 4 | 9 | High Intensity Discharge | 0 | 49 | 35 | 98 | 183
Halogen | 14.3 | 16.3 | 12.9 | 16.5 | 15.4 | Halogen | 12 | 15 | 0 | 1 | 28 | LED | 0 | 3 | 0 | 2 | 5
General Service | 15 | 14.7 | 14.3 |  | 15 | General Service | 1 | 0 | 0 |  | 1 | Miscellaneous | 1 | 0 | 0 | 1 | 3
Reflector | 14.1 | 14.6 | 12.9 |  | 14.3 | Reflector | 8 | 7 | 0 |  | 15 | Total | 174 | 348 | 58 | 117 | 701
Low Voltage Display | 16.8 | 18.1 |  |  | 18 | Low Voltage Display | 1 | 7 |  |  | 8
Miscellaneous | 13.8 | 15.3 | 13 | 16.5 | 14.8 | Miscellaneous | 2 | 1 | 0 | 1 | 4 | Table 4.8 Annual Lighting Electricity Consumed (%) by End-Use Sector in 2010
Compact Fluorescent | 52.1 | 55.2 | 62.8 | 54.6 | 53.7 | Compact Fluorescent | 15 | 16 | 0 | 1 | 32 |  | Residential | Commercial | Industrial | Outdoor | All Sectors
General Service - Screw | 53 | 54.4 | 53.3 |  | 53.3 | General Service - Screw | 13 | 3 | 0 |  | 16 | Incandescent | 78.1609 | 4.3103 | 0 | 3.4188 | 22.2539
General Service - Pin | 59.1 | 58.4 | 68.6 |  | 58.4 | General Service - Pin | 0 | 10 | 0 |  | 10 | Halogen | 6.8966 | 4.3103 | 0 | 0.8547 | 3.9943
Reflector | 43.1 | 44.9 | 41.9 |  | 44.3 | Reflector | 1 | 3 | 0 |  | 4 | Compact Fluorescent | 8.6207 | 4.5977 | 0 | 0.8547 | 4.5649
Miscellaneous | 52.1 |  |  | 54.6 | 53.3 | Miscellaneous | 1 |  | 0 | 1 | 2 | Linear Fluorescent | 5.7471 | 71.8391 | 39.6552 | 8.547 | 41.9401
Linear Fluorescent | 67.3 | 76.6 | 77.7 | 73.7 | 76.3 | Linear Fluorescent | 10 | 250 | 23 | 10 | 294 | High Intensity Discharge | 0 | 14.0805 | 60.3448 | 83.7607 | 26.1056
T5 | 53.3 | 90.4 | 84.8 |  | 89.5 | T5 | 0 | 16 | 2 |  | 19 | LED | 0 | 0.86207 | 0 | 1.7094 | 0.71327
T8 Less than 4ft | 55.4 | 71 | 71.4 |  | 70.6 | T8 Less than 4ft | 0 | 1 | 0 |  | 1 | Miscellaneous | 0.57471 | 0 | 0 | 0.8547 | 0.42796
T8 4ft | 72.9 | 78.5 | 78.5 |  | 78.4 | T8 4ft | 1 | 111 | 11 |  | 123 | Total | 100 | 100 | 100 | 100 | 100
T8 Greater than 4ft | 87 | 80.5 | 78.5 |  | 80.3 | T8 Greater than 4ft | 0 | 6 | 1 |  | 7
T12 Less than 4ft | 51.8 | 56.1 | 48.5 |  | 55.8 | T12 Less than 4ft | 0 | 1 | 0 |  | 1
T12 4ft | 66.7 | 70.8 | 71.5 |  | 70.5 | T12 4ft | 6 | 71 | 4 |  | 81
T12 Greater than 4ft | 74.5 | 77.1 | 78.1 |  | 77.2 | T12 Greater than 4ft | 1 | 35 | 4 |  | 40
T8 U-Shaped | 77.3 | 75.7 | 76.9 |  | 75.7 | T8 U-Shaped | 0 | 6 | 0 |  | 6
T12 U-Shaped | 63.3 | 64.6 | 64.5 |  | 64.6 | T12 U-Shaped | 0 | 2 | 0 |  | 2
Miscellaneous | 62.7 | 74.9 | 79.8 | 73.7 | 72.6 | Miscellaneous | 2 | 2 | 0 | 10 | 14
High Intensity Discharge | 62.4 | 75.2 | 76.7 | 74.6 | 75.1 | High Intensity Discharge | 0 | 49 | 35 | 98 | 183
Mercury Vapor | 29.3 | 37.9 | 38.8 | 30.5 | 35.2 | Mercury Vapor | 0 | 1 | 4 | 4 | 9
Metal Halide | 49 | 72.8 | 75.5 | 60 | 69.6 | Metal Halide | 0 | 43 | 25 | 29 | 97
High Pressure Sodium | 70.1 | 107.5 | 104.7 | 83.6 | 86.9 | High Pressure Sodium | 0 | 5 | 6 | 65 | 76
Low Pressure Sodium |  | 143.5 |  | 89.2 | 92.1 | Low Pressure Sodium | 0 | 0 | 0 | 1 | 1
Other | 37.7 | 55.9 | 40.3 | 58.6 | 53.8 | Other | 1 | 3 | 0 | 3 | 8
LED | 40.7 | 55.8 | 40.3 | 45.3 | 51.9 | LED | 0 | 3 | 0 | 2 | 5
Miscellaneous | 37.5 | 66.2 |  | 75.8 | 57.5 | Miscellaneous | 1 | 0 |  | 1 | 3
AVERAGE | 19.1 | 69.8 | 77.4 | 71.1 | 58 | TOTAL | 175 | 349 | 58 | 118 | 700

## DOE (2002)
Table A-3. Efficacy Assumptions Used to Calculate National Lumen Production |  |  |  |  | Table 8-7. Percentage of Electricity Consumption by Sector and Source, 2001 (% Electricity Consumption)
Lighting Technology | Residential | Commercial | Industrial | All sectors | Lamp Type | Residential | Commercial | Industrial | Outdoor | National Avg.
Incandescent | 12 | 11.75 | 12 | 11.9167 | Incandescent | 90% | 32% | 2% | 11% | 42%
Standard - General Service | 15 | 16 | 17 |  | Fluorescent | 10% | 56% | 67% | 2% | 41%
Standard - Reflector | 9 | 9 | 9 |  | HID | 0.3% | 12% | 31% | 87% | 17%
Low wattage (<25W) | - | 9 | 9 |  | Solid State | 0% | 0.02% | 0% | 0.01% | 0.01%
Misc incandescent | - | 13 | 13 |  | Totals | 100% | 100% | 100% | 100% | 100%
Halogen | 18.5 | 15.3333 | 15.3333 | 16.3889
Halogen - General Service | 18 | 15 | 15
Halogen – Double Ended | 19 | 20 | 20
Halogen - refl. - low volt | - | 11 | 11 |  | Table 5-22: National Lighting Energy Use by Sector and Source (TWh/yr)
Fluorescent | 57 | 69.5833 | 69.5833 | 65.3889 | Sector | Incandescent | Fluorescent | HID | Solid State | Total
T5 | - | 50 | 50 |  | Residential | 187.6 | 19.9 | 0.7 | 0 | 208.2
T8 – less than 4’ | - | 82 | 82 |  | Commercial | 124.5 | 220.1 | 46.2 | 0.1 | 390.9
T8–4’ | - | 85 | 85 |  | Industrial | 2.6 | 72.3 | 33 | 0 | 107.9
T8 – More than 4’ | - | 88 | 88 |  | Outdoor Stationary | 6.5 | 1.1 | 50.2 | 0 | 57.8
T8 – U-bent | - | 74 | 74 |  | Total | 321.2 | 313.4 | 130 | 0.1 | 764.7
T12 – less than 4’ | - | 63 | 63
T12 – 4’ | - | 74 | 74
T12 – More than 4’ | - | 79 | 79
T12 – U-bent | - | 69 | 69
Circline | 58 | 58 | 58
Induction discharge | 53 | 53 | 53
Miscellaneous fluorescent | 60 | 60 | 60
Compact Fluorescent | 56.25 | 56.25 | 56.25 | 56.25
Compact Plug-in | 60 | 60 | 60
Compact Screw base | 55 | 55 | 55
Compact Plug-in – reflector | 55 | 55 | 55
Compact Screw base – reflector | 55 | 55 | 55
HID | 61.6667 | 89.8333 | 92.1667 | 81.2222
Mercury vapor | 40 | 40 | 46
Metal halide | 65 | 65 | 65
High pressure sodium | 80 | 104 | 112
Low pressure sodium | - | 140 | 140
Xenon | - | 40 | 40
Electrodeless (e.g. mercury) | - | 150 | 150
LED | - | 20 | 20 | 20
LED | - | 20 | 20
Other Solid State | - | 10 | 10 | 10
Electroluminescent | - | 10 | 10

## Notes
Questions:
How was luminous efficacy measured in each case? Was the total luminous flux measured for a 4pi steradian source, or was a direction light measured and then what correction factors were used?
Which photopic luminosity funtions were applied in each case, especially in early experiments?
Have luminous efficacy calculations used the electricity consumption of the lighting device? Or the radiant flux of the device?
Do we want to calculate an economy wide lighting efficiency which we apply to the machine 'Electric Lights'. Or do we want to create 4 new machines: 'Resiential Electric Lights','Commerical Electric Lights', 'Industrial Electric Lights' and 'Outdoor Electric Lights'; which we then created weighted average efficiencies for based on the proportion of each techology in the mix?